## secs指令
direction | 指令 | 描述 | direction | 指令 | 描述 | 回复 or 发送
host->equipment | S1F3 | 查询SV值 | equipment->host | S1F4 |  | 返回SV值
host->equipment | S1F13 | 建立通讯 | equipment->host | S1F14 |  | MDLN: CYG SECSGEM SOFTREV: 1.0.0
host->equipment | S2F41 | 远程命令 | equipment->host | S2F42 | 回复值类型: BINARRY | 0：确认应答 1：远程命令不正确 3：远程命令参数不正确 4：已接受远程命令，待下位机触发事件
host->equipment | S2F49 | 增强远程命令 | equipment->host | S2F50 | 回复值类型: BINARRY | HACK 0：确认应答 1：远程命令不正确 3：远程命令参数不正确 4：已接受远程命令，待下位机触发事件 CPACK 1：参数名称未知 2：参数值不合法 3：参数值格式不合法
host->equipment | S3F17 | 请求设备执行一项操作 | equipment->host | S3F18 | 设备接收请求 | 0：接收请求
|  |  | equipment->host | S6F11 | 发送事件给Host
|  |  | equipment->host | S5F1 | 报警/解除报警上报给Host alarm_code的数据类型：BINARRY alarm_id的数据类型：U4 alarm_text的数据类型：ASCII | alarm_code=2：设备安全报警 alarm_code=9：取消报警
host->equipment | S7F19 | 查看配方列表 | equipment->host | S7F20 | 返回配方列表
host->equipment | S10F3 | Host发送弹框信息 | equipment->host | S10F4 | 回复值类型: BINARRY | 0：弹框已显示 1：弹框未显示
Note on B6: pallet检查eap回复和标签信息EAP回复都是通过 ProceedWitCarrier来回复 S3F17 W <L [5] <A "1"> <A "ProcessWithCarrier"> <A "pallet_id"> <A "1"> <L [1] <L [2] <A "10"> <A "ok"> > > > . 任务取消 CancelCarrier S3F17 W <L [5] <A "1"> <A "CancelCarrier"> <A "pallet_id"> <A "1"> <L [1] <L [2] <A "10"> <A "cancel"> > > > .

## collection_events
ce_id | ce_name | ce_description | report_id | sv_id/dv_id | sv_name/dv_name | value_type | description | 值描述
1001 | ControlStateChange | 控制状态变化 | 1 | 501 | current_control_state | BINARY | 当前控制状态 | 0:Offline 1:Online Local 2:Online Remote
1002 | ProcessStateChange | 运行状态变化 | 2 | 502 | current_process_state | BINARY | 当前运行状态 | 1:Manual 2:Auto 3:AutoRun 4:Alarm 5:Schedule down 6:Engineer
1008 | NoState2WaitingForHost | 扫完Pallet id通知EAP | 8 | 601 | port_id | UINT_4 | port_id
|  |  |  | 602 | pallet_code | ASCII | 大载具码
1009 | WaitingForHost2IdVerificationOk | 等待EAP检查成功 | 9 | 602 | pallet_code | ASCII | 大载具码
1010 | CancelCarrier | 此载具任务取消 | 10 | 602 | pallet_code | ASCII | 大载具码
1011 | PPSelectResult | 配方切换 | 20 | 503 | current_recipe_name | ASCII | 当前配方名称
|  |  |  | 509 | pp_select_state | UINT_4 | 配方切换结果 | 1：切换成功 2：切换失败
|  |  |  | 507 | pp_select_recipe_name | ASCII | 要切换配方名称
1012 | ResetBoxValidated | 发送尾料信息事件 | 12 | 605 | loose_lot_name | ASCII | 尾料工单名称
|  |  |  | 606 | shelf | ASCII | 货架信息
|  |  |  | 607 | reset_quality | UINT_4 | 尾料数量
1013 | ResetModuleValidatedFailed | 单个尾料产品检查失败 | 13 | 608 | reset_module_code_fail | ASCII | 检查失败单个尾料码
1014 | ResetModuleValidatedPassed | 单个尾料产品检查成功 | 14 | 609 | reset_module_code_pass | ASCII | 检查成功单个尾料码
1015 | PackingStarting | 开始工作 | 15 | 504 | current_lot_name | ASCII | 当前工单名称
|  |  |  | 604 | job_name | ASCII | job名称
1016 | ModuleValidationFailed | 产品不在白名单事件 | 16 | 610 | module_code_not_in_white | ASCII | 不在白名单中的产品
1017 | ModuleValidationPassed | 产品在白名单事件 | 17 | 611 | module_code_in_white | ASCII | 在白名单中的产品
1018 | BoxCompleted | 一个包装盒包装完成 | 18 | 604 | job_name | ASCII | job名称
|  |  |  | 504 | current_lot_name | ASCII | 当前工单名称
|  |  |  | 602 | pallet_code | ASCII | 大载具码
|  |  |  | 612 | dummy_box_code | ASCII | 透明盒虚拟码
|  |  |  | 613 | module_codes_in_dummy_box | ARRAY | 透明盒里的所有产品码列表
|  |  |  | 617 | dummy_boxes | ARRAY | dummy_box id列表
1019 | LabelScanned | 扫描包装盒标签信息 | 19 | 604 | job_name | ASCII | job名称
|  |  |  | 504 | current_lot_name | ASCII | 当前工单名称
|  |  |  | 602 | pallet_code | ASCII | 大载具码
|  |  |  | 612 | dummy_box_code | ASCII | 透明盒虚拟码
|  |  |  | 614 | label_info | ASCII | 标签信息
|  |  |  | 615 | label_type | ASCII | 标签类型
1020 | BoxRemoved | 包装盒放到了指定工位 | 20 | 604 | job_name | ASCII | job名称
|  |  |  | 504 | current_lot_name | ASCII | 当前工单名称
|  |  |  | 602 | pallet_code | ASCII | 大载具码
|  |  |  | 612 | dummy_box_code | ASCII | 透明盒虚拟码
|  |  |  | 613 | module_codes_in_dummy_box | ARRAY | 透明盒里的所有产品码列表
|  |  |  | 614 | label_info | ASCII | 标签信息
|  |  |  | 615 | label_type | ASCII | 标签类型
|  |  |  | 616 | station_type | UINT_4 | 1:首盒工位 2:尾盒工位 3:中间盒工位
1021 | LabelFailBoxRemoved | 人工拿走标签失败的盒子 | 21 | 612 | dummy_box_code | ASCII | 透明盒虚拟码
|  |  |  | 613 | module_codes_in_dummy_box | ARRAY | 透明盒里的所有产品码列表
1022 | LotEnd | 工单结束 | 22 | 604 | job_name | ASCII | job名称
|  |  |  | 504 | current_lot_name | ASCII | 当前工单名称
|  |  |  | 506 | lot_quality | UINT_4 | 工单结束后生产总数
|  |  |  | 601 | port_id | UINT_4 | port_id
|  |  |  | 619 | complete_module_list | ARRAY | 此工单生产的产品列表
|  |  |  | 620 | rest_module_list | ARRAY | 此工单未生产的产品列表
1023 | LabelValidated | 标签信息检查事件 | 23 | 604 | job_name | ASCII | job名称
|  |  |  | 504 | current_lot_name | ASCII | 当前工单名称
|  |  |  | 612 | dummy_box_code | ASCII | 透明盒虚拟码
|  |  |  | 614 | label_info | ASCII | 标签信息
|  |  |  | 613 | module_codes_in_dummy_box | ARRAY | 透明盒里的所有产品码列表
|  |  |  | 618 | label_info_ids | ARRAY | label_info id列表
Note on B2: 35000633: S6F11 W <L [3] <U1 1 > <U2 1001 > event_id: 1001 <L [1] <L [2] <U4 1 > report_id: 1 <L [1] <B 0x1> 1: 本地模式 2: EAP远程模式 > > > > .
Note on B3: 35000633: S6F11 W <L [3] <U1 1 > <U2 1002 > event_id: 1002 <L [1] <L [2] <U4 2 > report_id: 1 <L [1] <B 0x2> 1:Manual 2:Auto 3:AutoRun 4:Alarm > > > > .
Note on B4: S6F11 W <L [3] <U1 1 > <U2 1008 > <L [1] <L [2] <U4 8 > <L [2] <U4 2> <A "1003012428300470"> > > > > .
Note on B8: S6F11 W <L [3] <U1 1 > <U2 1011 > <L [1] <L [2] <U4 11 > <L [3] <A "AMB-S"> 当前配方名称 <U4 2 > 1：切换成功 2：切换失败 <A "AMB-D"> 要切换的配方名称 > > > > .
Note on F25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 这个就是一个<DummyBox>的列表，不需要填具体的值。有几个模块，就有几个<DummyBox>，也不需要编号.
Note on B42: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 需要按照sequence里面的参数来,要有 Jobname, LabelInfoList, RestModuleList. PallettId
Note on F53: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 这里格式是<Label_info的值.x>的列表, x从1开始自增，有几个模块，这里就自增到几

## sv_ids
sv_id | sv_name | sv_value_type | sv_description | values
501 | current_control_state | BINARY | 当前控制状态 | 1:EquipmentOffline 2:AttemptOnline 3:HostOffline 4:OnlineLocal 5:OnlineRemote
502 | current_process_state | BINARY | 当前运行状态 | 1:Initilalizing 2:Idle 3:AutoRun 4:Alarm 5:Schedule down 6:Error 8:Stopping 9:Service 10:ExecutingNoMatriial 11:Executing
503 | current_lot_name | ASCII | 当前工单名称
504 | lot_quality | UINT_4 | 要生产的工单数量
505 | current_recipe_name | ASCII | 当前配方名称
506 | current_recipe_id | UINT_4 | 当前配方id
507 | pp_select_recipe_name | ASCII | 要切换配方名称
508 | pp_select_recipe_id | UINT_4 | 要切换配方id
509 | pp_select_state | UINT_4 | 配方切换结果 | 1：切换成功 2：切换失败
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 英飞凌标准的Control State
Note on E3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 英飞凌用到的Process State见截图,还可以定义额外的。

## dv_ids
data_id | name | value_type | description | values
601 | port_id | UINT_4 | port_id
602 | pallet_code | ASCII | 大载具码
603 | pp_select_state | UINT_4 | 配方切换结果 | 1:切换成功 2:切换失败
604 | job_name | ASCII | job名称
605 | loose_lot_name | ASCII | 尾料工单名称
606 | shelf | ASCII | 货架信息
607 | reset_quality | UINT_4 | 尾料数量
608 | reset_module_code_fail | ASCII | 检查失败单个尾料码
609 | reset_module_code_pass | ASCII | 检查成功单个尾料码
610 | module_code_not_in_white | ASCII | 不在白名单中的产品
611 | module_code_in_white | ASCII | 在白名单中的产品
612 | dummy_box_code | ASCII | 透明盒虚拟码
613 | module_codes_in_dummy_box | ARRAY | 透明盒里的所有产品码列表
614 | label_info | ASCII | 标签信息
615 | label_type | ASCII | 标签类型
616 | station_type | UINT_4 | 1:首盒工位 2:尾盒工位 3:中间盒工位
617 | dummy_boxes | ARRAY | dummy_box id列表
618 | label_info_ids | ARRAY | label_info id列表
619 | complete_module_list | ARRAY | 此工单生产的产品列表
620 | rest_module_list | ARRAY | 此工单未生产的产品列表
Note on B18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 这个就是一个<DummyBox>的列表，不需要填具体的值。有几个模块，就有几个<DummyBox>，也不需要编号.
Note on B19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 这里LabelInfo会当作Carrier看待，所以labelInfo就是具体的值如第一个module对应的就是labelInfoValue.1, 第二个就是LabelInfoValue.2

## ec_ids
ec_id | name | value_type | description | value
701 | plc_ip | ASCII | plc_ip | 192.168.250.1
702 | plc_rack | UINT_4 | plc机架号 | 0
703 | plc_slot | UINT_4 | plc槽号 | 1
704 | db_num | UINT_4 | plc块 | 1998
705 | occur_alarm_code | UINT_4 | 发生报警代码 | 2
706 | clear_alarm_code | UINT_4 | 清除报警代码 | 0
707 | mes_heart_gap | UINT_4 | MES心跳间隔时间 | 5
708 | alarm_state | UINT_4 | 报警状态 | 4
709 | mysql_user_name | ASCII | 数据库用户名 | root
710 | mysql_password | ASCII | 数据库密码 | liuwei.520

## remote_commands
remote_command | remote_command_description | param_name | param_value_type | 描述
PPSelect | eap通知设备切换配方 | recipeName | ASCII | 配方名称
|  | jobName | ASCII | job_name
STOP | eap通知设备停止 | errorCode | UINT_4 | 错误编码
|  | errorText | ASCII | 错误文本
START | eap让设备工作
Note on A2: S2F41 W <L [2] <A "PPSelect"> <L [2] <L [2] <A "recipeName"> <A "AMB-F"> > <L [2] <A "jobName"> <A "value"> > > > .
Note on A4: S2F41 W <L [2] <A "STOP"> <L [2] <L [2] <A "errorCode"> <U4 1000> > <L [2] <A "errorText"> <A "value"> > > > .
Note on A6: S2F41 W <L [2] <A "START"> <L> > .

## enhance_remote_commands
remote_command | remote_command_description | param_name | param_value_type | 描述
WhiteList | eap下发白名单和尾料信息 | module_list | ARRAY | 白名单信息
|  | reset_info | ARRAY | 尾料信息
Note on A2: S2F49 <L [4] <A "2"> <A "liuyiyi"> <A "WhiteList"> <L [2] <L [2] <A "LotID"> <L [6] <A "common_module_code_1"> <A "common_module_code_2"> <A "common_module_code_3"> <A "common_module_code_4"> <A "common_module_code_5"> <A "common_module_code_6"> > > <L [2] <A "LooseLotID"> <A "Shelf"> <L [6] <A "rest_module_code_1"> <A "rest_module_code_2"> <A "rest_module_code_3"> <A "rest_module_code_4"> <A "rest_module_code_5"> <A "rest_module_code_6"> > > > > .
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: looselot下面也有module list, 和lot下面的modulelist一起组成了whitelist

## VID (hidden)
VID | Description | Type
0 | Control Status | B
1 | Process Status | B | 当前仅为样例，需根据设备实际参数定义
10 | Recipe Number | A
100 | LotNumber | A
200 | FrameSN | A

## Recipe (hidden)
功能 | 询问外框条码 | 询问map | 询问工单完成情况 | 核对DBC条码
CMD | StripId | Request stripmap | StripsToGo | Check StripId
L | 5 | 5 | 5 | 5
OBJSPEC |  |  |  |  | 空值
OBJTYPE | StripId | Mapdata | StripsToGo | CheckStripId
L | 1 | 1 | 0 | 1
OBJID | workOrder | barcode |  | barcode
L | 0 | 0 | 0 | 0
L | 0 | 0 | 0 | 0

## RCMD (hidden)
RCMD | Desc | RCMD Data |  |  |  | 描述
|  | CPNAME | CPVAL | SUB CPNAME | CPVAL
4000 | PP-SELECT | PPNAME |  |  |  | download recipe
RECIPENAME
4001 | STARTWORKORDER | workorder-id |  |  |  | STARTWORKORDER
4002 | MATERIAL-VALIDATION | Material Type |  |  |  | MATERIAL-VALIDATION
ACCEPTED
|  | Id | "id"
material code
4003 | TrackInReply | barcodes | code1&code2&NA&code4
|  | OKNG | OK&OK&NA&OK
4004 | TrackOutReply | Platecode
OK
4005 | DownloadRecipe | RECIPENAME
RECIPEVALUE
4006 | LotStartReply | LOT Number
OK
4007 | LotEndReply | LOT Number
OK
4008 | LotQty | LOT Number
Qty

## SECS定义协议 (hidden)
Collected Event ID-1
CEID | Description | RPTID | VID | 类型 | Description
1 | Process State Change | 1 | 1 | B : | Process Status
0 = Idle
1 = Pause
2 =Running
3= Alarm
2 | Control State Change | 2 | 2 | B : | Control Status |  | SVID | Description
|  |  |  | 0 = Offline |  |  | 1 | Process Status | B :
|  |  |  | 1 = Online Local |  |  |  |  | 0 = Idle
|  |  |  | 2 =Online Remote |  |  |  |  | 1 = Pause
3 | Program Change | 3 | 3 | I8:1 | Recipe Name |  |  |  | 2 =Running
4 | Station1IN | 4 | 4 | A: | Pallet SN |  |  |  | 3= Alarm
|  |  | 5 | A: | Placode SN |  | 2 | Control Status | B :
5 | Station1OUT | 5 | 4 | A: | Pallet SN |  |  |  | 0 = Offline
|  |  | 5 | A: | Placode SN |  |  |  | 1 = Online Local
|  |  | 6 | A:OK/NG | State |  |  |  | 2 =Online Remote
6 | Station2IN | 6 | 4 | A: | Pallet SN |  | 3 | Product ID | A:
7 | Station2OUT | [5 empty] | 4 | Recipe Name | A:
8 | Load | 8 | 8 | B : =1 | Material
9 | Unload
10 | Check | 10 | 10 | A: | MaterialSN
[7 empty] | Variable | Description | Values | Format
[7 empty] | CEID | Collected event ID |  | U-Integer
| Test Result | [5 empty] | VID | Variable ID |  | U-Integer
Test Result
Variable | Description | Values | Format | ALID | Description | ALCD
ALCD | Alarm code byte | Bit 8 = 1 Alarm set | Binary | 1 | Door open | 2
|  | Bit 8 = 0 Alarm clear |  | 2 | ESTOP | 2
Bit 7-1 Alarm category
0 = Not used
1 = Personal safety
2 = Equipment safety
3 = Parameter control warning
4 = Parameter control error
5 = Irrecoverable error
6 = Equipment status warning
7 = Attention flags
8 = Data integrity
>8 = Other categories
9-63 = Reserved
Ex: 0x82 => 1000-0010
Bit 8 = 1 Alarm set
0010=>2 = Equipment safety