## page-5-table-1
| 0 | 1 | 2 | 3
0 | — Omitted – Thermal-MagneticSentron Series Type/Interrupting Range |  |  | first character) are non-interchangeable
1 | — Omitted – Standard RatingC — Highest IC Rating and Current Limiting
2 | M — Type MDN — Type NDP — Type PDR — Type RD

## page-5-table-2
| 0 | 1 | 2 | 3
0 | — Omitted – Thermal-MagneticSentron Series Type/Interrupting Range— Omitted – Standard RatingC — Highest IC Rating and Current Limiting
1
2 | M — Type MDN — Type NDP — Type PDR — Type RD
3 |  |  |  | first character) are non-interchangeable

## page-5-table-3
| 0 | 1 | 2 | 3 | 4
0
1
2 | M — Type MDN — Type NDP — Type PDR — Type RD
3
4 | 9 used to indicate the max. functions for an electronic trip circuit breaker (always 3 poles)

## page-5-table-4
| 0 | 1 | 2 | 3 | 4 | 5 | 6
0 | 9 used to indicate the max. functions for an electronic trip circuit breaker (always 3 poles)
1
2
3
4
5

## page-5-table-5
| 0 | 1 | 2 | 3 | 4 | 5 | 6
0 | only, and the “X” is omitted.Trip Unit Type— Omitted – Thermal-MagneticS — Sensitrip® Electronic TripSentron Series Type/Interrupting Range— Omitted – Standard RatingH — High IC RatingHH — Extra High IC RatingC — Highest IC Rating and Current LimitingFrame IdentifierNumber of Poles9 used to indicate the max. functions for an electronic trip circuit breaker (always 3 poles)(Specific Application Type)B — Standard 40°C Breaker M — Calibrated for 50°C ApplicationF — Frame OnlyT — 40°C Trip Unit OnlyW — 50°C Trip Unit OnlyS — Molded Case SwitchL — Low Instantaneous Range ETI BreakerA — Standard Range ETI BreakerH — High Instantaneous Range ETI BreakerMaximum Continuous Current Rating
1
2 | — Type ED M — Type MD— Type FD N — Type ND— Type JD P — Type PD— Type LD R — Type RDLM — Type LMDMaximum Voltage
3
4
5
6 | ED Frame — 015, 020, 025, 030, 035, 040, 045, 050, 060, 070, 080, 090, 100, 110, 125FD Frame — 070, 080, 090, 100, 110, 125, 150, 175, 200, 225, 250JD Frame — 200, 225, 250, 300, 350, 400LD Frame — 250, 300, 350, 400, 450, 500, 600LMD Frame — 500, 600, 700, 800MD Frame — 500, 600, 700, 800ND Frame — 900, 100 (1000A), 120 (1200A)PD Frame — 120 (1200A), 140 (1400A), 160 (1600A)RD Frame — 160 (1600A), 180 (1800A), 200 (2000A) | [5 empty] | first character) are non-interchangeable

## page-6-table-1
| 0 | 1 | 2 | 3 | 4 | 5 | 6
0 | R — Molded Case Switch (DG, FG, LG-frame)S — Molded Case SwitchT — Trip Unit OnlyV — Thermal Magnetic, standard 40°C ambient, 600VAC 25kA, UL/CSA (LG frame)W — 100% rated, Non-interchangeable (DG, LG-frame)X — Global Non-interchangeableY — 100% rated, Non-interchangeable
1 | L — Type LGP — Type PGM — Type MGN — Type NG
2
3
4
5
6 | S — Molded Case SwitchB — Thermal Magnetic, standard 40° C ambient A — Electronic w/ LCD, LSI or 3P (neutral protected)L — Magnetic Only, Motor Circuit Protector - LowG — Electronic w/ LCD, LSIG, 3P/4W (selectable residual or return type ground fault protection)J — Magnetic Only, Motor Circuit Protector - Low K — Electronic with LCD, LSI and GF alarm only, 3P/4W (selectable residual or return type ground fault alarm)M — Magnetic Only, Motor Circuit Protector - StandardR — Electronic LI or 3P (neutral protected)T — Electronic LSI or 3P (neutral protected)Y — Magnetic Only, Motor Circuit Protector - StandardV — Electronic, LSIG or 3P/4W, residual ground fault protectionW — Electronic, LIG or 3P/4W, residual ground fault protectionH — Magnetic Only, Motor Circuit Protector - High

## page-6-table-2
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
0
1 | L — Type LGP — Type PGM — Type MGN — Type NG
2
3 | R — Molded Case Switch E — Global DG, FG Frame Only (DG, FG, LG-frame)600 Y/347 VS — Molded Case SwitchG — Global interchangeable (UL, T — Trip Unit OnlyIEC, CE, CSA, NOMa, CCCa)V — Thermal Magnetic, standard 40°C J — 240V rated JG frame,ambient, 600VAC 25kA, UL/CSA Non-interchangeable only (LG frame)K — Global, Non-interchangeable W — 100% rated, Non-interchangeable(DG, FG, LG-frame) (DG, LG-frame)M — Motor Circuit ProtectorX — Global Non-interchangeableP — Motor Circuit Protector Y — 100% rated, Non-interchangeable(DG, FG Only)F — Frame only, without trip unitS — Molded Case SwitchB — Thermal Magnetic, standard 40° C ambient A — Electronic w/ LCD, LSI or 3P (neutral protected)L — Magnetic Only, Motor Circuit Protector - LowG — Electronic w/ LCD, LSIG, 3P/4W (selectable residual orinstantaneous range return type ground fault protection)J — Magnetic Only, Motor Circuit Protector - Low K — Electronic with LCD, LSI and GF alarm only, 3P/4Winstantaneous range (LG-frame) (selectable residual or return type ground fault alarm)M — Magnetic Only, Motor Circuit Protector - StandardR — Electronic LI or 3P (neutral protected)instantaneous rangeT — Electronic LSI or 3P (neutral protected)Y — Magnetic Only, Motor Circuit Protector - StandardV — Electronic, LSIG or 3P/4W, residual ground fault protectioninstantaneous range (LG-frame)W — Electronic, LIG or 3P/4W, residual ground fault protectionH — Magnetic Only, Motor Circuit Protector - Highinstantaneous range ontinuous Current Rating
4
5
6
7 | For DG use 050, 060, 070, 080, 090, 100, 110, 125, 150For FG use 100, 110, 125, 150, 175, 200, 225, 250For JG use 250, 300, 350, 400For LG use 400, 500, 600For MG use 600, 700, 800For NG use 800, 900, 100 (1000A), 120 (1200A)For PG use 120 (1200A), 140 (1400A), 160 (1600A)

## page-6-table-3
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
0 | C — Trip Unit OnlyL — Type LGP — Type PGM — Type MGN — Type NGR — Molded Case Switch E — Global DG, FG Frame Only (DG, FG, LG-frame)600 Y/347 VS — Molded Case SwitchG — Global interchangeable (UL, T — Trip Unit OnlyIEC, CE, CSA, NOMa, CCCa)V — Thermal Magnetic, standard 40°C J — 240V rated JG frame,ambient, 600VAC 25kA, UL/CSA Non-interchangeable only (LG frame)K — Global, Non-interchangeable W — 100% rated, Non-interchangeable(DG, FG, LG-frame) (DG, LG-frame)M — Motor Circuit ProtectorX — Global Non-interchangeableP — Motor Circuit Protector Y — 100% rated, Non-interchangeable(DG, FG Only)F — Frame only, without trip unitS — Molded Case SwitchB — Thermal Magnetic, standard 40° C ambient A — Electronic w/ LCD, LSI or 3P (neutral protected)L — Magnetic Only, Motor Circuit Protector - LowG — Electronic w/ LCD, LSIG, 3P/4W (selectable residual orinstantaneous range return type ground fault protection)J — Magnetic Only, Motor Circuit Protector - Low K — Electronic with LCD, LSI and GF alarm only, 3P/4Winstantaneous range (LG-frame) (selectable residual or return type ground fault alarm)M — Magnetic Only, Motor Circuit Protector - StandardR — Electronic LI or 3P (neutral protected)instantaneous rangeT — Electronic LSI or 3P (neutral protected)Y — Magnetic Only, Motor Circuit Protector - StandardV — Electronic, LSIG or 3P/4W, residual ground fault protectioninstantaneous range (LG-frame)W — Electronic, LIG or 3P/4W, residual ground fault protectionH — Magnetic Only, Motor Circuit Protector - Highinstantaneous range ontinuous Current RatingFor DG use 050, 060, 070, 080, 090, 100, 110, 125, 150For FG use 100, 110, 125, 150, 175, 200, 225, 250For JG use 250, 300, 350, 400For LG use 400, 500, 600For MG use 600, 700, 800For NG use 800, 900, 100 (1000A), 120 (1200A)For PG use 120 (1200A), 140 (1400A), 160 (1600A)
1
2
3
4
5
6
7
8
9 | B — Load End Standard (cu/al) Lugs L — Line & Load Standard (cu/al) Lugs X — No Lugs (use only if accessory suffixes are to follow)

## page-8-table-1
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
0 | [5 empty] | Plug-In Breakers | [5 empty] | Panelboard Breakers
1 | [5 empty] | QT | QP | QPH | HQP | HQPPH | QPJ | BL | BLH | HBL | BQD, BQD6 | NGB,NGB2 | HGB2 | LGB2
2 | Page |  |  |  |  | Plug-In Breakers QT: 5-21; Plug-In Breakers QPH: 5-22, 5-24 5-22, 5-24 5-20, 5-24 5-20, 5-24 5-24; Panelboard Breakers BL: 5-29; Panelboard Breakers BLH: 5-29; Panelboard Breakers HBL: 5-29 | 5-32 | 5-33 | 5-33 | 5-33
3 | Ratings | AC | Poles |  |  | 1, 2 | 1, 2, 3 | 1, 2, 3 | 1, 2, 3g | 2 | 2, 3 | 1,2,3 | 1,2,3 | 1,2,3 | 1,2,3 | 1,2,3 | 1,2,3 | 1,2,3
4 |  |  | Amperes |  |  | Plug-In Breakers QT: 15-50; Plug-In Breakers QPH: 10-125cd 10-125cd 10-125cg 100-225; Plug-In Breakers QPJ: 150-200 10-125; Panelboard Breakers BLH: 15-125; Panelboard Breakers HBL: 15-100 | 15-100 | 15-125 | 15-125 | 15-125
5 |  |  | Volts (50/60 Hz) |  | 1 Pole2 Pole | 120/240 | 120/240 | 120/240 | 120/240 | 120/240 | 120/240 | 120/240 | 120/240 | 120/240 | 277 | 347 | 347 | 347
6 | [5 empty] | Panelboard Breakers BL: 120/240; Panelboard Breakers BLH: 120/240; Panelboard Breakers HBL: 120/240 | 480/277 | 600/347 | 600/347 | 600/347
7 |  |  |  |  | 3 Pole | — | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 480/277 | 600/347 | 600/347 | 600/347
8 |  |  | Interrupt Ratings | CSA/UL | 120V | 10,000 | 10,000 | 22,000 | 65,000 | — | — | 10000 | 22000 | 65000 | 65000 | — | — | —
9 |  |  |  |  | 240V | 10,000 | 10,000 | 22,000 | 65,000 | 100,000 | 10,000 | 10000 | 22000 | 65000 | 65000 | 100000 | 100000 | 100000
10 |  |  |  |  | 277V | [9 empty] | 14000 | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
11 |  |  |  |  | 347V | [9 empty] | 10000 | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
12 |  |  |  |  | 480/277V — | [9 empty] | 14000 | 25000 | 35000 | 65000 | bar: Plug-In Breakers QP to Panelboard Breakers HBL
13 |  |  |  |  | 480V | [9 empty] | — | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
14 |  |  |  |  | 600/347V — | [9 empty] | 10000 | 14000 | 22000 | 25000 | bar: Plug-In Breakers QP to Panelboard Breakers HBL
15 |  |  |  |  | 600V | [9 empty] | — | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
16 |  |  |  | 220/240VIEC 947-2 380/415V50/60 Hz500V | lCU | [9 empty] | — | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
17 |  |  |  |  | lCSlCU | [9 empty] | —— | —— | —— | —— | bar: Plug-In Breakers QT to Panelboard Breakers HBL
18
19 |  |  |  |  | lCSlCU | [9 empty] | —— | —— | —— | —— | bar: Plug-In Breakers QT to Panelboard Breakers HBL
20
21 |  |  |  |  | lCS | [9 empty] | — | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
22 |  | DC | 125/250 V DC Interrupting |  | 2-Pole | [9 empty] | 14000 | 14000 | 14000 | 14000 | bar: Plug-In Breakers QT to Panelboard Breakers HBL
23 |  |  | Rating |  | 3-Pole | [9 empty] | — | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
24 | Dimensions in Inches | Height |  |  | 10-50A | — | 2.87 | 2.87 | — | — | — | 3.56 | 3.56 | 3.75 | 4.50 | 5.00 | 5.00 | 5.00
25 |  |  |  |  | 10-60A | 3.12 | — | — | — | — | — | — | — | — | — | — | — | —
26 |  |  |  |  | 55-125A | — | 3.12 | 3.12 | 3.12 | 3.12 | 3i | 3.75 | 3.75 | 3.75 | 4.50 | 5.00 | 5.50 | 5.50
27 |  | Width |  |  | 1-Pole | 1.00 | 1.00 | 1.00 | 1.00 | — | — | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00 | 1.00
28 |  |  |  |  | 2-Pole | 2.00a | 2.00 | 2.00 | 2.00 | 4.00 | i | 2.00 | 2.00 | 2.00 | 2.00 | 2.00 | 2.00 | 2.00
29 |  |  |  |  | 3-Pole | 2.00a | 3.00 | 3.00 | 3.00 | — | 3.00i | 3.00 | 3.00 | 3.00 | 3.00 | 3.00 | 3.00 | 3.00
30 |  | Depth |  |  |  | 2.06 | 2.37 | 2.37 | 2.37 | 2.37 | 2.34 | 2.37 | 2.37 | 2.37 | 2.69 | 2.71 | 2.71 | 2.71
31 | Overcurrent Devices | Thermal and Fixed magnetic Trip | [12 empty] | u | u | u | u | bar: Plug-In Breakers QT to Panelboard Breakers HBL
32 |  | Thermal and Adjustable Magnetic trip | [12 empty] | — | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
33 |  | Adjustable Magnetic trip only | [12 empty] | — | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
34 |  | Motor Circuit Protector | [12 empty] | — | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
35 |  | Molded Case Switch | [12 empty] | — | — | — | — | bar: Plug-In Breakers QT to Panelboard Breakers HBL
36 | Accessories & Modifications | Undervoltage Trip | [12 empty] | u | — | u | u | bar: Plug-In Breakers QT to Panelboard Breakers HBL
37 |  | Shunt Trip |  |  |  | — | uf | uf | uh | uh | — | u | u | u | u | u | u | u
38 |  | Auxilary Switch |  |  |  | — | — | — | — | uh | — | u | u | u | u | u | u | u
39 |  | Alarm Switch | bar: — to u
40 |  | Mechanical Interlock | bar: — to u
41 |  | Fungus Proofing (ref. page 5-89) | bar: — to u

## page-9-table-1
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 |  |  |  |  | General Purpose Breakers
1 |  |  |  |  | BQ | BQH | HBQ | QR2 | QRH2 | HQR2 | HQR2H | CQD | NGG
2 | Page |  |  |  | 5-35 | 5-35 | 5-35 | 5-37 | 5-37 | 5-37 | 5-37 | 5-38 | 5-39
3 | Ratings | AC | Poles |  | 1, 2, 3 | 1, 2, 3 | 1, 2, 3 | 2, 3 | 2, 3 | 2, 3 | 2, 3 | 1, 2, 3 | 1, 2, 3
4 |  |  | Amperes, Continuous | 1-Pole | 15–70 | 15–70 | 15–50 | — | — | — | — | 15–100 | 15–125
5 |  |  |  | 2-Pole | 15–125 | 15–100 | 15–70 | 100–250 | 100–250 | 100–250 | 100–250 | 15–100 | 15–125
6 |  |  |  | 3-Pole | 15–100 | 15–100 | 15–100 |  |  |  |  | 15–100 | 15-125
7 |  |  | Volts (50/60 Hertz) | 1-Pole 2-Pole | 120/240 | 120/240 | 120/240 | — | — | — | — | 277 | 347
8 | [7 empty] | 240 | 240 | 240 | 240 | 480/277 | 600/347
9 |  |  |  | 3-Pole | 240 | 240 | 240
10 |  |  | CSA/UL Interrupting Rating — Symmetrical RMS Amperes | 120V | 10,000 | 22,000 | 65,000 | — | — | — | — | 65,000 | 65,000
11 |  |  |  | 240V | 10,000 | 22,000 | 65,000 | 10,000 | 25,000 | 65,000 | 100,000 | 65,000 | 65,000
12 |  |  |  | 480V | — | — | — | — | — | — | — | 14,000a | 25,000
13 |  |  |  | 600/347V | — | — | — | — | — | — | — | 10,000 | 14,000
14 |  | DC | Volts — 2-Pole |  | — | — | — | — | — | — | — | 125/250 | 125/250
15 |  |  | Interrupting Rating — DC Amperes |  | — | — | — | — | — | — | — | 14,000 | 14,000
16 | Dimensions in inches |  | Height | 15–50A | 3.75 | 3.75 | 4.00 | — | — | — | — | 4.50 | 5.40
17 |  |  |  | 55–125A | 4.00 | 4.00 | 4.00 | — | — | — | — | 4.50 | 5.40
18 |  |  |  | 60–225A | — | — | — | 7.00 | 7.00 | 7.00 | 7.00 | — | —
19 |  |  | Width | 1-Pole | 1.00 | 1.00 | 1.00 | — | — | — | — | 1.00 | 1.00
20 |  |  |  | 2-Pole | 2.00 | 2.00 | 2.00 | 3.00 | 3.00 | 3.00 | 3.00 | 2.00 | 2.00
21 |  |  |  | 3-Pole | 3.00 | 3.00 | 3.00 | 4.50 | 4.50 | 4.50 | 4.50 | 3.00 | 3.00
22 |  |  | Depth |  | 2.37 | 2.37 | 2.37 | 2.53 | 2.53 | 2.53 | 2.53 | 2.87 | 2.90
23 | Overcurrent |  | Thermal and Fixed Magnetic Trip |  | u | u | u | u | u | u | u | u | u
24 | Devices |  | Molded Case Switch |  | u | — | — | u | — | — | uc | — | —
25 | Accessories & Modifications |  | Undervoltage Trip |  | — | — | — | — | — | — | — | — | —
26 |  |  | Shunt Trip |  | u | u | u | u | u | u | u | u | u
27 |  |  | Auxiliary Switch |  | u | u | u | u | u | u | u | u | u
28 |  |  | Alarm Switch |  | — | — | — | — | — | — | — | u | u
29 |  |  | Mechanical Interlock |  | — | — | — | u | u | u | u | — | —
30 |  |  | Fungus Proofing (ref. page 5-89) |  | u | u | u | u | u | u | u | u | u
31 | Individual Enclosures |  | Type 1 — Indoor Surface |  | u | u | u | — | — | — | — | — | —
32 |  |  | Type 1 — Indoor, Flush |  | u | u | u | — | — | — | — | — | —
33 |  |  | Type 3R — Outdoor-Rainproof |  | u | u | u | — | — | — | — | — | —

## page-10-table-1
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0 | [6 empty] | General Purpose Breakers
1 | [6 empty] | HGG | LGG | ED2 | ED4 | ED6 | HED4 | CED6
2 | Page | [5 empty] | 5-41 | 5-41 | 5-43 | 5-43 | 5-43 | 5-44 | 5-44
3 |  |  | Poles |  |  |  | 1, 2, 3 | 1, 2, 3 | 1, 2, 3 | 1, 2, 3 | 1d, 2, 3 | 1, 2, 3 | 2, 3
4 | Ratings | AC | Amperes, Continuous |  |  |  | 15–125 | 15–125 | 15–100 | 15–125 | 15–125g | 15–125 | 15–125
5 |  |  | Volts 50/60HZ |  |  | 1-Pole | 347 | 347 | 120 | 277 | 347 | 277 | —
6 | [5 empty] | 2-Pole 3-Pole | 600/347 | 600/347 | 240 | 480 | 600 | 480 | 600
7 |  |  | Interrupt Rating Symmetrical RMS Amperes | CSA/UL IEC 947-2 50/60HZ | 220/240V | 120V | — | — | 10,000 | — | — | 100,000 | —
8 | [5 empty] | 240V | 85,000 | 100,000 | 10,000 | 65,000 | 65,000 |  | 100,000 e 200,000
9 | [5 empty] | 277V | — | — | — | 22,000a | — | 65,000b | —
10 | [5 empty] | 347V | — | — | — | — | 30,000 | — | —
11 | [5 empty] | 480V | 35,000 | 65,000 | — | 18,000 | 25,000 | 142,000 | 200,000
12 | [5 empty] | 600V | 22,000f | 25,000f | — | — | 18,000 | — | 100,000
13 | [5 empty] | Icu | — | — | — |  | 65,000 | — | —
14 | [5 empty] | Ics | — | — | — | — | 17,000 | — | —
15 |  |  |  |  | 380/415V | Icu | — | — | — |  | 35,000 | — | —
16 | [5 empty] | Ics | — | — | — | — | 19,000 | — | —
17 |  |  |  |  | 500V | Icu | — | — | — | — | 18,000 | — | —
18 | [5 empty] | Ics | — | — | — | — | 15,000 | — | —
19 |  | DC | 2-Pole, 250V DC Interrupting Ratings |  |  |  | 35,000 | 42,000 | 5,000 | 30,000 | 30,000 | 30,000 | 30,000
20 |  |  | 3-Pole, 500V DC Interrupting Ratingsc |  |  |  | — | — | — | — | 18,000 | — | 50,000
21 | Dimensions in inches |  | Height 1-Pole |  |  |  | 5.40 1.00 | 5.40 1.00 | 6.34 1.00 | 6.34 1.00 | 6.34 1.00 | 6.34 1.00 | 9.26 —
22 |  |  | Width 2-Pole 3-Pole |  |  |  | 2.00 3.00 | 2.00 3.00 | 2.00 3.00 | 2.00 3.00 | 2.00 3.00 | 2.00 3.00 | 2.00 3.00
23 |  |  | 4-Pole |  |  |  | 4.00 | 4.00 | — | — | — | — | —
24 |  |  | Depth |  |  |  | 2.90 | 2.90 | 4.00 | 4.00 | 4.00 | 4.00 | 4.00
25 | Overcurrent Devices |  | Thermal and Fixed Magnetic Trip |  |  |  | u | u | u | u | u | u | u
26 |  |  | Thermal and Adjustable Magnetic Trip |  |  |  | — | — | — | — | — | — | —
27 |  |  | Adjustable Magnetic Trip only Motor Circuit Protector |  |  |  | — | — | — | — | u | — | u
28 |  |  | Molded Case Switch |  |  |  | — | — | u | u | u | — | u
29 | Accessories & Modifications |  | Undervoltage Trip |  |  |  | — | — | u | u | u | u | u
30 |  |  | Shunt Trip |  |  |  | u | u | u | u | u | u | u
31 |  |  | Auxiliary Switch |  |  |  | u | u | u | u | u | u | u
32 |  |  | Alarm Switch |  |  |  | u | u | u | u | u | u | u
33 |  |  | Mechanical Interlock |  |  |  | — | — | — | — | — | — | —
34 |  |  | Rear Connection Studs |  |  |  | — | — | u | u | u | u | u
35 |  |  | Electric Motor Operator |  |  |  | — | — | u | u | u | u | u
36 |  |  | Plug-In Mounting Assembly (3 Pole Only) |  |  |  | — | — | u | u | u | u | u
37 |  |  | Fungus Proofing (ref. page 5-89) |  |  |  | u | u | u | u | u | u | u
38 | Individual Enclosures |  | Type 1 — Indoor Surface |  |  |  | u | u | u | u | u | u | u
39 |  |  | Type 1 — Indoor, Flush |  |  |  | u | u | u | u | u | u | u
40 |  |  | Type 3R — Outdoor-Rainproof |  |  |  | u | u | u | u | u | u u
41 |  |  | Type 12 — Lint, Fine Dust, Oils, Coolants |  |  |  | — | — | u | u | u | u | u