## Organism ¦ Organism part
Characteristics[Organism] | Characteristics[Organism part]
NCBITAXON:Ailuropoda melanoleuca | A2780cisR
NCBITAXON:Ailuropoda melanoleuca | BAO:reference compound
NCBITAXON:Arabidopsis thaliana | BAO:solvent
NCBITAXON:Astragalus mongholicus | BFO:RAW-264.7
NCBITAXON:Bos taurus | BTO:A-549 cell
NCBITAXON:Bovinae | BTO:aerial part
NCBITAXON:Caenorhabditis elegans | BTO:BEAS-2B cell
NCBITAXON:Calanus helgolandicus | BTO:berry
NCBITAXON:Centella asiatica | BTO:bladder
NCBITAXON:Chlamydomonas reinhardtii | BTO:blood
NCBITAXON:Corynebacterium glutamicum | BTO:blood plasma
NCBITAXON:Euglena gracilis | BTO:blood serum
NCBITAXON:Glycine max | BTO:brain
NCBITAXON:Homo sapiens | BTO:bronchoalveolar lavage
NCBITAXON:Hordeum vulgare | BTO:C2C12 cell
NCBITAXON:Ilex paraguariensis | BTO:cell culture
NCBITAXON:Lotus burttii | BTO:cotyledon
NCBITAXON:Lotus corniculatus | BTO:erythrocyte
NCBITAXON:Lotus creticus | BTO:feces
NCBITAXON:Lotus filicaulis | BTO:fetal serum
NCBITAXON:Lotus japonicus | BTO:flower stalk
NCBITAXON:Lotus tenuis | BTO:fruit
NCBITAXON:Lotus uliginosus | BTO:HaCaT cell
NCBITAXON:Malus domestica | BTO:heart
NCBITAXON:Manihot esculenta | BTO:heart ventricle
NCBITAXON:Montipora aequituberculata | BTO:HEK-293 cell
NCBITAXON:Mus musculus | BTO:Hep-G2 cell
NCBITAXON:Nicotiana attenuata | BTO:hepatic lipid droplet
NCBITAXON:Nostoc commune | BTO:hypocotyl
NCBITAXON:Oryza sativa | BTO:kernel
NCBITAXON:Ovis aries | BTO:kidney
NCBITAXON:Plasmodium falciparum | BTO:leaf
NCBITAXON:Pocillopora damicornis | BTO:leg muscle
NCBITAXON:Populus tremula x Populus alba | BTO:lens
NCBITAXON:Porites compressa | BTO:liver
NCBITAXON:Porites lobata | BTO:lung
NCBITAXON:Rattus andamanensis | BTO:MCF-7 cell
NCBITAXON:Rattus norvegicus | BTO:milk
NCBITAXON:Ruegeria pomeroyi | BTO:monocyte
NCBITAXON:Saccharomyces cerevisiae | BTO:muscle
NCBITAXON:Schizosaccharomyces pombe | BTO:NCI-H460 cell
NCBITAXON:Seriatopora hystrix | BTO:neuroblastoma cell line
NCBITAXON:Solanum lycopersicum | BTO:ovarian serous adenocarcinoma cell line
NCBITAXON:Sorghum bicolor | BTO:pericarp
NCBITAXON:Sus scrofa domesticus | BTO:pre-B-lymphocyte cell line
NCBITAXON:Synechococcus elongatus | BTO:primary root
NCBITAXON:Synechocystis sp. PCC 680 | BTO:renal epithelium cell line
NCBITAXON:Synechocystis sp. PCC 6803 | BTO:renal tubule
NCBITAXON:Thalassiosira pseudonana | BTO:right ventricle
NCBITAXON:Triticum aestivum | BTO:root
NCBITAXON:Trypanosoma brucei | BTO:root hair
NCBITAXON:Vitis vinifera | BTO:rosette leaf
BAO:reference compound | BTO:S9 cell
EFO:biofilm | BTO:saliva
EFO:C57BL/6 | BTO:seed
Salmonella typhimurium | BTO:seed vessel
ENVO:sea water | BTO:seedling
NCBITAXON:Aedes albopictus | BTO:skeletal muscle
EFO:C57BL/6J | BTO:spike
Escherichia coli str. K-12 substr. AG1 | BTO:spleen
ENVO:soil biocrust | BTO:stomach
BTO:testis
BTO:twig
BTO:urine
BTO:vegetative cell
BTO:whole plant
CHEBI:mixture
CLO:A2780 cell
EFO:C2C12
EFO:dorsal skin
EFO:HaCaT
EFO:HepG2
EFO:whole organism
endometabolome
exometabolome
MS:standard
NCIT:Leg Skin
NCIT:Wine
PECO:hydroponic plant culture media
PO:shoot apical meristem
PO:shoot system
BTO:caryopsis
MEO:cecal content
BTO:root
BTO:plant crown
BTO:whole plant
cecal content / caecum content | MEO:cecal content
ileal content / Ileum content | MEO:ileal content
intestinal content | MEO:intestinal content
For any MS/MS
xxxx (Standard sample name) | BAO:reference compound | CHEBI:mixture
xxxx (Standard sample name) | BAO:reference compound | CHEBI:pure substance
Miscellaneous
2015 | non-sample-control | blank
Cell media | MESH:Culture Media
Culture media | MESH:Culture Media
Cell Conditioned media | MESH:Culture Media, Conditioned
Commercial reagent | NCBITAXON:Chemical | CHEBI:glucose
Commercial reagent | NCBITAXON:Chemical | CHEBI:glucose
human serum sample | NCBITAXON:Homo sapiens | BTO:blood serum
pooled quality control | NCBITAXON:Homo sapiens | BTO:blood serum
solvent blank sample | blank | BAO:solvent
plasma extract | NCBITAXON:Homo sapiens | BTO:blood plasma
blank sample | blank | blank
blank sample | blank | CHMO:matrix
pooled quality control | NCBITAXON:Homo sapiens | BTO:blood plasma
standard mix | NIST:Reference compound mix | CHEBI:mixture
M. Rutzler | blank | CHEBI:water
M. Rutzler | alkane reference | CHEBI:mixture
C10 | NCBITAXON:Homo sapiens | BTO:C-10 cell
CaCo2 | NCBITAXON:Homo sapiens | BTO:CACO-2 cell
Co115 | NCBITAXON:Homo sapiens | Co-115 cell
Colo205_VUmc | NCBITAXON:Homo sapiens | BTO:Colo-205 cell
Colo320_VUmc | NCBITAXON:Homo sapiens | BTO:Colo-320 cell
DLD-1 | NCBITAXON:Homo sapiens | BTO:DLD-1 cell
HCT116 | NCBITAXON:Homo sapiens | BTO:HCT-116 cell
HCT116_VUmc | NCBITAXON:Homo sapiens | BTO:HCT-116 cell
HCT15_VUmc | NCBITAXON:Homo sapiens | BTO:HCT-15 cell
HCT8 | NCBITAXON:Homo sapiens | BTO:HCT-8 cell
comercial reagent_glucose | BAO:reference compound | CHEBI:glucose
comercial reagent_glucose | BAO:reference compound | CHEBI:glucose
comercial reagent_lactate | BAO:reference compound | CHEBI:lactate
comercial reagent_lactate | BAO:reference compound | CHEBI:lactate
incubation media 1 | NCBITAXON:Homo sapiens | BTO:monocyte
incubation media 1 | NCBITAXON:Homo sapiens | BTO:monocyte
comercial reagent_glutamate | BAO:reference compound | CHEBI:glutamate(2-)
comercial reagent_glutamate | BAO:reference compound | CHEBI:glutamate(2-)
comercial reagent_glutamate | BAO:reference compound | CHEBI:glutamate(2-)
in-house standard | BAO:reference compound | CHEBI:mixture
FAL-mix_C24-TMS | BAO:reference compound | CHEBI:mixture
Ferulic acid | BAO:reference compound | CHEBI:pure substance
Feed | BAO:reference compound
Sponge pooled 1 pos | Pooled quality control | exometabolome
SVA1 ft pos | Coral reef sea water | exometabolome
SVA2 ft pos | NCBITAXON:Spheciospongia vesparium | exometabolome
ICE3 ft pos | NCBITAXON:Ircinia campana | exometabolome
Off 2 ft pos | ENVO:sea water | exometabolome
37-FAME mix | BAO:reference compound | CHEBI:mixture
Hexane | blank | BAO:solvent
BBlank1_DC50007 | blank | CHEBI:solvent
Standard wax ester | BAO:reference compound | CHEBI:wax ester
Standard | MS:standard | BAO:reference compound
NCBITAXON:Glycine max/NCBITAXON:Rhizoctonia solani | Glycine max cv. AC Proteina/Rhizoctonia solani AG4 isolate A76 | BTO:hypocotyl/EFO:whole organism
commercial cold_Glyc_r1 | BAO:reference compound | CHEBI:glycogen
In_vitro_assays | NCBITAXON:Arabidopsis thaliana | NCIT:Recombinant Protein
N4 | Artificial sputum medium | NCIT:Growth Medium
N66 | Nutrient broth | NCIT:Growth Medium
N137 | blank | Sorbent blank

## Sample type
Characteristics[Sample type] | Term Source REF | Term Accession Number | Notes | Should "sample type" be "experiment sample role"???
Experimental sample | CHMO | http://purl.obolibrary.org/obo/CHMO_0002746
Solvent blank | MSIO | http://purl.obolibrary.org/obo/MSIO_0000026 |  | Should just be blank?
Quality control | MSIO | http://purl.obolibrary.org/obo/MSIO_0000085 | single sample replicate
Quality control pooled | MTBLS | http://www.ebi.ac.uk/metabolights/ontology/placeholder
Media blank |  |  |  | Media blank & sample blank may be interchangeable?
Sample blank |  |  | empty sample tube | Sample blank could also be eg. buffer only? would be the standard for biological samples (Keeva)
Pooled sample | NCIT | http://purl.obolibrary.org/obo/NCIT_C45910
Pooled quality control
Reference compound | BAO | http://www.bioassayontology.org/bao#BAO_0002092
Reference compound single |  |  |  | Only need "Reference compound" also "standard
Reference compound mixture
Internal standard single |  |  |  | Only need "Internal standard"
Internal standard mixture
Negative contol |  |  |  | Potentially useful?
Experimental control sample |  |  |  | eg. organism = sample blank, part = culture media, type (or role?) = experimental control
Idea behind "sample type" or "sample role" is to define the samples so they can be realigned in the aubmission view as controls vs samples so this shouldn't be an overly complicated list, the sample can be further defined in the organism / part conlumn as normal
We aim to determine these classificaitons in conversation with eg. the Phenome centres
Experimental control sample
Experimental sample

## New Inst.
NMR Study | Date Added | GC/MS Study (Chromatography) | Date Added | LC/MS Study (Chromatography) | Date Added | MS Imaging Study | Date Added
Parameter Value[Instrument] |  | Parameter Value[Chromatography Instrument] |  | Parameter Value[Chromatography Instrument] |  | Parameter Value[Instrument]
|  | GC/MS Study (Mass Spectometry) |  | LC/MS Study (Mass Spectometry)
|  | Parameter Value[Instrument] |  | Parameter Value[Instrument]
|  |  |  | Thermo Scientific TSQ Vantage | 2020-03-16

## NMR Study
Parameter Value[NMR tube type] | Parameter Value[NMR Solvent] | Parameter Value[Instrument] | Parameter Value[NMR probe] | Parameter Value[Pulse sequence name] | Parameter Value[Magnetic field strength] | Unit | Parameter Value[Magnetic field strength] | Unit
1.7 mm SampleJet | 0.05 mM phosphate buffered D2O | Agilent DD2 600 MHz spectrometer | 1.7 mm CPTCI 1H-13C/15N/D Z-GRD | 1D 1H spectrum (zg) | 400 | MHz | 9.4 | UO:tesla
1.7 mm standard | 0.01 M phosphate buffered D2O | Bruker 400 MHz spectrometer | 1.7 mm CPTCI 1H/13C/15N/D Z-GRD cryorobe | 1D 1H spectrum (zg30) | 500 | MHz | 11.7 | UO:tesla
1.7 mm (Norell) | 0.07 M phosphate buffered D2O | Bruker 500 MHz spectrometer | 2.5 mm BBO-1H/D Z-GRD | 1D 1H 30 deg excitation with f2 presaturation without spoiling gradient (zg30_f2pr) | 600 | MHz | 14.1 | UO:tesla
2.5 mm standard | 0.1 M phosphate buffered D2O | Bruker 600 MHz spectrometer | 2.5 mm QXI 1H/15N/13C/31P/D Z-GRD | 1D 1H T2-filter sequence eliminating J-modulation with water presaturation | 700 | MHz | 16.4 | UO:tesla
3 mm standard | 0.15 M phosphate buffered D2O | Bruker 600 MHz Ultrashield spectrometer | 3 mm BB 1H | 1D 1H with presaturation (presat) | 800 | MHz | 18.8 | UO:tesla
3 mm (Norell) | 0.2 M phosphate buffered D2O | Bruker Ascend 700 MHz spectrometer | 3 mm BB 1H/X | 1D 1H with presaturation (wet) | 850 | MHz | 20 | UO:tesla
3 mm SampleJet | 0.5 M phosphate buffered D2O | Bruker AVANCE 500 MHz spectrometer | 3 mm 1H(X)-PFG inverse configuration | 1D 1H with presaturation (zgpr) | 900 | MHz | 21.1 | UO:tesla
4 mm standard MAS rotor | 1 M phosphate buffered D2O/H2O | Bruker AVANCE 600 MHz spectrometer | 3.2 mm MAS BB/1H | 1D 1H with water suppression using excitation sculpting with gradients (zgesgp)
4 mm Zirconia MAS rotor | CD3OD | Bruker AVANCE 700 MHz spectrometer | 4 mm HRMAS 1H/13C/2H Z-GRD | 1D 13C with power-gated decoupling (zgpg)
4.25 mm (Bruker BioSpin) | D2O | Bruker AVANCE 850 MHz spectrometer | 4 mm HRMAS 1H/13C/D Z-GRD | 1D CPMG with presaturation (cpmgpr1d)
4.25 mm standard | 0.04 M phosphate buffered D2O/H2O | Bruker AVANCE 900 MHz spectrometer | 4 mm HRMAS 1H/13C/15N/2H Z-GRD | 1D CPMG with T2 filter and presaturation (ereticcpmgpr1d)
5 mm (New Era) | 0.07 M phosphate buffered D2O/H2O | Bruker AVANCE AV 500 MHz spectrometer | 4 mm HR-MAS dual inverse 1H/13C with a Magic Angle gradient | 1D homonuclear MQS with selective pulses, without gradients, selects both ZQC and DQC (SSelMQC_refoc_ph)
5 mm (Norell Inc.) | 0.1 M phosphate buffered D2O/H2O | Bruker AVANCE AV 600 MHz spectrometer | 5 mm 1H-13C cryoprobe | 1D NOESY with presaturation (metnoesy)
5 mm (Wilmad-LabGlass) | phosphate sodium buffer | Bruker AVANCE DRX 500 MHz spectrometer | 5 mm ATMA cryoprobe | 1D NOESY with presaturation (noesypr1d)
5 mm 541-pp | CDCL3 | Bruker AVANCE DRX 600 MHz spectrometer | 5 mm BBI | 1D NOESY with presaturation (modified) (pusenoesypr1d)
5 mm 7 in (Wilmad-LabGlass) | H20 + D20 | Bruker AVANCE DRX 700 MHz spectrometer | 5 mm BBI 1H | 1D NOESY with presaturation (tnnoesy)
5 mm 7 in 507-grade | CD3OD + phosphate sodium buffer D2O | Bruker AVANCE HD 700 MHz spectrometer | 5 mm BBI 1H-BB Z-GRD | 1D NOESY with presaturation and spoil gradients (noesygppr1d)
5 mm SampleJet | 0.2 M potassium phosphate buffered D2O + 0.128 mM TSP | Bruker AVANCE II 500 MHz spectrometer | 5 mm BBI 1H/D-BB Z-GRD | 1D NOESY with presaturation during relaxation delay and mixing time and spoil gradient (noesygppr1d_kr)
5 mm Shigemi D2O matched | D2O + 0.35 mM TSP | Bruker AVANCE II 500 MHz Ultrashield spectrometer | 5 mm BBI double resonance | 1D NOESY 12C custom filtered with presaturation, phase-sensitive gradients, and 13C decoupling (c12filternoesygpc13cpd)
5 mm short | 0.9% NaCl in D2O | Bruker AVANCE II+ 500 MHz spectrometer | 5 mm BBO-1H Z-GRD | 1D NOESY 12C 13C custom filtered with presaturation, phase-sensitive gradients, and 13C decoupling (c12c13filternoesygpc13cpd)
5 mm ST500-7 (Norell) | 0.3 M saline D2O | Bruker AVANCE II+ 800 MHz spectrometer | 5 mm BBO-1H/D Z-GRD | 1D PROJECT with presaturation (projectedpr)
5 mm standard | phosphate-buffered saline D2O | Bruker AVANCE II 600 MHz spectrometer | 5 mm BBO H&F cryoprobe | 2D 1H-13C HSQC (hsqcetgppr)
10 mm standard | 0.2 M potassium phosphate buffered D2O + 5 mM maleic acid | Bruker AVANCE II 700 MHz spectrometer | 5 mm CPBBO BB-1H/19F/D Z-GRD cryoprobe | 2D homonuclear correlation via dipolar coupling (noesyesgpph)
| 0.154 M saline D20 | Bruker AVANCE II 800 MHz US2 spectrometer | 5 mm CPBBO BB-1H/19F/15N/D Z/GRD cryoprobe | 2D HSQC with presaturation (hsqcphpr)
| saline D2O | Bruker AVANCE III 400 MHz spectrometer | 5 mm CPP 1H/19F-13C/15N/D Z-GRD | 2D HSQC using echo-antiecho detection and gradient pulses (hsqcedetgp)
|  | Bruker AVANCE III 500 MHz spectrometer | 5 mm CPTCI | 2D HSQC using echo-antiecho and adiabatic pulses for inversion and refocusing (hsqcetgpsp.2)
|  | Bruker AVANCE III 600 MHz spectrometer | 5 mm CPTCI 1H-13C/15N/D Z-GRD | 2D HSQC using echo-antiecho and adiabatic pulses for inversion and refocusing with additional water suppression (hsqcetgpsp.2.cl)
|  | Bruker AVANCE III 700 MHz spectrometer | 5 mm CPTCI 1H/13C/15N/D Z-GRD cryoprobe | 2D HSQC using echo-antiecho-TPPI gradient selection, constant time, trim pulses, shaped pulses for inversion, no refocussing, off-resonance pulse (hsqcctetgpsp.2)
|  | Bruker AVANCE III 800 MHz spectrometer | 5 mm CPTCI 1H/13C/31P | 2D HSQC using PEP and adiabatic pulses for inversion and refocusing with gradients in back-inept (hsqcetgpsisp2.2)
|  | Bruker AVANCE III HD 600 MHz spectrometer | 5 mm CPTCI 1H/13C/31P Z-GRD cryoprobe | 2D HSQC using PEP and adiabatic pulses for inversion and refocusing with gradients in back-inept and suppression of COSY type artefacts (hsqcetgpsisp2.3)
|  | Bruker AVANCE III HD 700 MHz spectrometer | 5 mm CPTCI 1H-13C/31P/D cryoprobe | 2D Interleaved Ultrafast COSY (iufcosy)
|  | Bruker AVANCE III HD 800 MHz spectrometer | 5 mm CPTCI 1H-13C/31P/D Z-GRD cryoprobe | 2D JRES with excitation sculpting & additional water suppression (jresesgp2)
|  | Varian Mercury AS400 MHz spectrometer | 5 mm CPTCI 1H/19F-13C/15N/D Z-GRD | 2D JRES with homonuclear J-resolved 2D correlation (jresesgp)
|  | Varian Unity Inova 400 MHz spectrometer | 5 mm CPTCI 1H-31P/13C/D Z-GRD | 2D JRES with homonuclear J-resolved 2D correlation, presaturation during relaxation delay with gradients (jresgpprqf)
|  | Varian Unity Inova 500 MHz spectrometer | 5 mm CPTCI 1H-31P/13C/D Z-GRD cryoprobe | 2D TOCSY with phase sensitive water suppression using MLEV (mlevesgpph)
|  | Varian Unity Inova 600 MHz spectrometer | 5 mm CPTXI 1H-13C/15N/D Z-GRD | 2D TOCSY with presaturation using MLEV (mlevphpr)
|  | Varian VNMR 600 MHz spectrometer | 5 mm CPTXO 13C/D-1H/15N Z-GRD | 2D Zero-quantum-filtered total correlation spectra (zTOCSY-em-3)
|  | Varian VNMRS 600 MHz spectrometer | 5 mm CPQCI 1H/19F-13C/15N/D Z-GRD | M3S COSY
|  | Varian VNMRS DirectDrive 600 MHz spectrometer | 5 mm CPQCI 1H-31P/13C/15N/D Z-GRD
5 mm cryogenic
5 mm HCN triple resonance
5 mm HCN Z-gradient PFG RT
5 mm HRMAS BB/2H-1H MAS-GRD
5 mm HX
5 mm inverse
5 mm inverse 1H/13C/15N/D cryoprobe
5 mm PABBI 1H-BB/D Z-GRD
5 mm PABBI 1H/D-BB Z-GRD
5 mm PABBO BB-1H/D Z-GRD
5 mm PADUL 13C-1H/D Z-GRD
5 mm PATBO BB-1H/19F/D Z-GRD
5 mm PATXI 1H/D-13C/15N Z-GRD
5 mm PATXI 1H-13C/15N XYZ-GRD
5 mm PATXI 1H-13C/15N/D Z-GRD
5 mm QNP 1H/13C/15N/31P
5 mm QXI 1H/15N/13C/31P/D Z-GRD
5 mm TBI 1H-BB XYZ-GRD
5 mm TBO BB-1H/19F/D Z-GRD
5 mm Triple 1H-13C/15N/D
5 mm triple resonance cryoprobe
5 mm TXI
5 mm TXI 1H/13C/15N/D Z/GRD cryoprobe
5 mm TXI 1H/D-13C/15N XYZ-GRD
5 mm TXI ATMA
5 mm TXI D/1H-13C/15N Z-GRD
5 mm TXI HCN CryoProbe
5 mm Triple-resonance cryoprobe with z-gradients
5 mm Triple-resonance salt tolerant cold probe
5 mm 4-Nucleus (13C/31P-1H/19F) (Standard Probe)
5 mm 1H{13C,15N} triple resonance PFG salt tolerant cold probe
5 mm 1H{13C,15N} tunable triple resonance PFG probe
BBI
5 mm CPTCI 700S4 H&F/C/N-D-05 Z
5 mm AutoX DB

## GCMS Study
Parameter Value[Chromatography Instrument] | Parameter Value[Column model] | Parameter Value[Column type]
Agilent 6890 GC | BP-20 (0.25 µm, 0.25 mm x 60 m; SGE) | high polarity
Agilent 6890N GC | BPX-50 (0.1 µm, 0.1 mm x 1.5 m; SGE) | medium polarity
Agilent 7890 GC | BPX-50 (0.1 µm, 0.1 mm x 2 m; SGE) | medium polarity
Agilent 7890A GC | CP-Sil 8 CB Low Bleed/MS (0.25 µm, 0.25 mm x 30 m; Varian) | low polarity
Agilent 7890B GC | DB-23 GC (0.15 µm, 0.25 mm x 60 m; Agilent Technologies) | high polarity
Agilent 8860 GC | DB-5 GC (1 µm, 0.25 mm x 15 m; Agilent Technologies) | low polarity
PerkinElmer AutoSystem XL GC | DB-50 GC (0.25 µm, 0.25 mm x 30 m; Supelco) | medium polarity
Shimadzu GCMS-QP2010 Ultra | DB-5ms GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | low polarity
Shimadzu GCMS-QP2020 | DB-5ms GC (0.1 µm, 0.25 mm x 30 m; Agilent Technologies) | low polarity
Shimadzu GC-17A | DB-35ms GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | medium polarity
Shimadzu GC-2010 | DB-5ms Ultra Inert GC (0.18 µm, 0.18 mm x 10 m; Agilent Technologies) | low polarity
Thermo Electron FOCUS GC | DB-5ms Ultra Inert GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | low polarity
Thermo Electron TRACE GC | DB-WAX (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | high polarity
Thermo Electron TRACE GC Ultra | HP-5 GC (0.25 µm, 0.32 mm x 28 m; Agilent Technologies) | low polarity
Thermo Scientific TRACE GC Ultra | HP-5 GC (0.25 µm, 0.32 mm x 30 m; Agilent Technologies) | low polarity
Thermo Scientific TRACE 1310 GC | HP-5 GC (0.25 µm, 0.32 mm x 60 m; Agilent Technologies) | low polarity
ThermoQuest GC 8000 | HP-5ms GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | low polarity
Varian 4000 GC | HP-5ms Ultra Inert GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | low polarity
| HP-FFAP GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | high polarity
| HP-INNOWax GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | high polarity
| HP-INNOWax GC (0.25 µm, 0.25 mm x 60 m; J&W Scientific) | high polarity
| Rtx-200 (0.25 µm, 0.25 mm x 1.75 m; Restek) | medium polarity
| Rtx-200 (0.25 µm, 0.25 mm x 2 m; Restek) | medium polarity
| Rtx-5 (0.20 µm, 0.18 mm x 10 m; Restek) | low polarity
| Rtx-5MS (0.25 µm, 0.25 mm x 30 m; Restek) | low polarity
| Rtx-5Sil MS (0.25 µm, 0.25 mm x 30 m; Restek) | low polarity
| Rxi-5ms (0.18 µm, 0.18 mm x 10 m; Restek) | low polarity
| Rxi-5Sil MS (0.18 µm, 0.18 mm x 10 m; Restek) | low polarity
| Rxi-5Sil MS (0.25 µm, 0.25 mm x 30 m; Restek) | low polarity
| Rxi-17Sil MS (0.15 µm, 0.15 mm x 1.5 m; Restek) | medium polarity
| SH-Rxi-5Sil MS (0.25 µm, 0.25 mm x 30 m; Shimadzu) | low polarity
| SPB-50 GC (0.25 µm, 0.25 mm x 30 m; Supelco) | medium polarity
| Stabilwax-DA (0.25 µm, 0.32 mm x 30 m; Restek) | high polarity
| Stabilwax-MS (0.25 µm, 0.32 mm x 30 m; Restek) | high polarity
| TraceGOLD TG-5SilMS (0.25 µm, 0.25 mm x 30 m; Thermo Scientific) | low polarity
| TRACE TR-5MS GC (0.25 µm, 0.25 mm x 30 m, Thermo Scientific) | low polarity
| TRACE TR-FAME GC (0.25 µm, 0.25 mm x 30 m, Thermo Scientific) | high polarity
| VF-17ms (0.25 µm, 0.25 mm x 30 m; Varian) | low polarity
| VF-1ms GC (0.25 µm, 0.25 mm x 30 m; J&W Scientific) | low polarity
| VF-5ms GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | low polarity
| VF-5ms GC (0.25 µm, 0.25 mm x 30 m; Varian) | low polarity
| VF-5ms GC (0.25 µm, 0.25 mm x 30 m; Supelco) | low polarity
| VF-WAXms GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | high polarity
| Zebron ZB-1701 w/GUARDIAN GC (0.15 μm, 0.25mm x 30 m + 5 m; Phenomenex) | medium polarity
| Zebron ZB-1ms GC (0.25 µm, 0.25 mm x 30 m; Phenomenex) | low polarity
| Zebron ZB-5 GC (0.25 µm, 0.25 mm x 15 m; Phenomenex) | low polarity
| Zebron ZB-5 GC (0.25 µm, 0.25 mm x 30 m; Phenomenex) | low polarity
| Zebron ZB-5 w/GUARDIAN GC (0.25 µm, 0.25 mm x 30 + 10 m; Phenomenex) | low polarity
| Zebron ZB-5ms GC (0.25 µm, 0.25 mm x 30 m; Phenomenex) | low polarity
| Zebron ZB-AAA GC (0.25 mm x 10 m; Phenomenex) | medium polarity
| Zebron ZB-SemiVolatiles GC (0.25 µm, 0.25 mm x 30 m; Phenomenex) | low polarity
| Zebron ZB-WAX GC (0.25 µm, 0.25 mm x 30 m; Phenomenex) | high polarity
| 5% phenyldimethyl silicone GC (0.18 µm, 20 m x 0.18 mm) | low polarity
GC/MS Study (Mass Spectometry)
Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer]
Agilent 5973 MSD | MS:electron ionization | MS:quadrupole
Agilent 5973N MSD | MS:chemical ionization | MS:quadrupole
Agilent 5975 MSD | MS:field ionization | MS:quadrupole
Agilent 5975C inert XL MSD |  | MS:quadrupole
Agilent 5975C MSD |  | MS:quadrupole
Agilent 5977A MSD |  | MS:quadrupole
Agilent 5977B MSD |  | MS:quadrupole
Agilent 7000C Triple Quadrupole |  | triple quadrupole
Agilent 7010 Triple Quadrupole |  | triple quadrupole
Agilent 7200 Q-TOF |  | quadrupole time-of-flight
JEOL AccuTOF GCv |  | MS:time-of-flight
LECO Pegasus |  | MS:time-of-flight
LECO Pegasus 4D |  | MS:time-of-flight
LECO Pegasus III |  | MS:time-of-flight
LECO Pegasus IV |  | MS:time-of-flight
LECO Pegasus BT TOFMS |  | MS:time-of-flight
LECO Pegasus GC-HRT |  | MS:time-of-flight
LECO Pegasus HT TOFMS |  | MS:time-of-flight
PerkinElmer TurboMass |  | MS:quadrupole
Shimadzu GCMS-TQ8040 |  | triple quadrupole
Shimadzu GCMS-TQ8040 NX |  | triple quadrupole
Shimadzu GCMS-QP2020 |  | MS:quadrupole
Shimadzu GCMS-QP2010 Ultra |  | MS:quadrupole
Shimadzu GCMS-QP5000 |  | MS:quadrupole
Thermo Electron PolarisQ |  | MS:quadrupole ion trap
Thermo Electron TRACE DSQ |  | MS:quadrupole
Thermo Finnigan TRACE DSQ |  | MS:quadrupole
Thermo Scientific DSQ II |  | MS:quadrupole
Thermo Scientific ISQ |  | MS:quadrupole
Thermo Scientific ITQ 900 |  | MS:quadrupole ion trap
Thermo Scientific ISQ LT |  | MS:quadrupole
Thermo Scientific TRACE DSQ |  | MS:quadrupole
Thermo Scientific TSQ 8000 |  | triple quadrupole
Thermo Scientific TSQ Quantum XLS |  | triple quadrupole
ThermoQuest Voyager |  | MS:quadrupole
Varian 4000 MSD |  | MS:quadrupole ion trap
Waters GCT Premier |  | MS:time-of-flight
GC/MS Study (Autosampler) | GC/MS Study (Autoinjector)
Parameter Value[Autosampler model] | Parameter Value[Autoinjector model]
Agilent 7683 Series Automatic Liquid Sampler
Agilent 7683B Automatic Liquid Sampler
Agilent 7693A Automatic Liquid Sampler
Agilent 7693 Automatic Liquid Sampler
Agilent CTC Analytics Combi PAL autosampler
CTC Analytics HTS PAL Autosampler
CTC Analytics PAL COMBI autosampler
CTC Analytics PAL COMBI-xt autosampler
CTC Analytics PAL LHX-xt autosampler
CTC Analytics PAL RSI 85 Autosampler
CTC Analytics L-PAL3 Autosampler
GERSTEL MultiPurpose Sampler (MPS)
GERSTEL MultiPurpose Sampler (MPS 2)
GERSTEL MultiPurpose Sampler (MPS 2XL)
GERSTEL MultiPurpose Sampler (MPS) Dual Head
GERSTEL TDS A Autosampler (TDS-A)
JASCO PAL GC-xt autosampler
Markes International UltrA 2
Shimadzu AOC-20s autosampler | Shimadzu AOC-20i autoinjector
Shimadzu AOC-20i/s autoinjector/autosampler
Thermo Electron AS2000 autosampler
Thermo Scientific AS3000 autosampler
Thermo Scientific AS 1310 Autosampler
Thermo Scientific TriPlus RSH Autosampler
ThermoQuest AS 2000 Liquid Autosampler
GC/MS Study (Guard)
Parameter Value[Guard column]
10 m EZGuard (Agilent Technologies)
10 m EZGuard (Varian)
5 m DuraGuard (Agilent Technologies)
10 m DuraGuard (Agilent Technologies)
5 m Integra-Guard (Restek)
10 m Integra-Guard (Restek)
diphenyltetramethyldisilazane deactivated retention gap (0.53 mm x 3 m)
methyl deactivated retention gap (0.53 mm x 1.5 m)
GC/FID (Flame Ionisation Detector)
Parameter Value[Detector] | Parameter Value[Temperature] | Unit
Thermo Electron Flame Ionization Detector | 250 | UO:degree Celsius
TD/GC (Thermal Desorption)
Parameter Value[Thermal Desorption unit] | Parameter Value[Cryogenic Trap]
GERSTEL TDS | GERSTEL CTS 2
Markes International UNITY 2
Markes International TD-100

## LCMS Study
Parameter Value[Chromatography Instrument] | Parameter Value[Column model] | Parameter Value[Column type]
Agilent 1100 Series HPLC System | Acclaim 120 C18 (2.2 µm, 2.1 mm x 150 mm; Thermo Scientific) | reverse phase
Agilent 1100 Series LC | Acclaim C18 (2.2 µm, 2.1 mm x 150 mm; Thermo Scientific) | reverse phase
Agilent 1200 Series HPLC System | Acclaim C30 (3 µm, 2.1 mm x 150 mm, Thermo Scientific) | reverse phase
Agilent 1200 Series Rapid Resolution LC System | Acclaim C30 (3 µm, 3 mm x 150 mm; Thermo Scientific) | reverse phase
Agilent 1220 Infinity LC | Acclaim PepMap RSLC C18 100 Å (2 µm, 0.075 mm x 150 mm; Thermo Scientific) | reverse phase
Agilent 1260 Infinity HPLC | Acclaim PepMap100 C18 100 Å (5 µm, 0.1 mm x 20 mm; Thermo Scientific) | reverse phase
Agilent 1260 Infinity LC | Acclaim Polar Advantage II (3 µm, 3 mm x 150 mm; Thermo Scientific) | reverse phase
Agilent 1260 Infinity II LC System | AccQ-Tag Ultra C18 (1.7 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Agilent 1290 Infinity HPLC | AccQ-Tag Ultra RP 130Å (1.7 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Agilent 1290 Infinity LC | Accucore aQ C18 (2.6 µm, 2.1 mm x 100 mm; Thermo Scientific) | reverse phase
Aglient 1290 Infinity II LC | Accucore C18 (2.6 µm, 2.1 mm x 150 mm; Thermo Scientific) | reverse phase
Agilent 1290 Infinity UHPLC | Accucore C18 (2.6 µm, 2.1 mm x 30 mm; Thermo Scientific) | reverse phase
Agilent 1290 Infinity II UHPLC | Accucore C18 (2.6 µm, 2.1 mm x 100 mm; Thermo Scientific) | reverse phase
Beckman Coulter System Gold HPLC 127 pump | Accucore C18 (2.6 µm, 2.1 mm x 100 mm; Thermo Scientific) | reverse phase
Eksigent ekspert ultraLC 110 | Accucore C30 (2.6 µm, 2.1 mm x 150 mm; Thermo Scientific) | reverse phase
Eksigent ekspert nanoLC 400 | Accucore HILIC (2.6 µm, 2.1 mm x 50 mm; Thermo Scientific) | HILIC
Eksigent NanoLC-Ultra 2D system | Accucore HILIC (2.6 µm, 2.1 mm x 100 mm; Thermo Scientific) | HILIC
Eksigent UPLC system | ACQUITY UPLC BEH (1.7 µm; Waters) | HILIC
Flux Rheos Allegro UHPLC pump | ACQUITY UPLC BEH Amide (1.7 µm, 2.1 mm x 50 mm; Waters) | HILIC
Hitachi L-7100 HPLC pump | ACQUITY UPLC BEH Amide (1.7 µm, 2.1 mm x 75 mm; Waters) | HILIC
Hitachi LaChrome Ultra | ACQUITY UPLC BEH Amide (1.7 µm, 2.1 mm x 100 mm; Waters) | HILIC
JASCO X-LC 3085PU HPLC pump | ACQUITY UPLC BEH Amide (1.7 µm, 2.1 mm x 150 mm; Waters) | HILIC
Michrom BioResources Paradigm MS4 HPLC system | ACQUITY UPLC BEH C18 (1.7 µm, 2.1 mm x 50 mm; Waters) | reverse phase
SCIEX ExionLC AC | ACQUITY UPLC BEH C18 (1.7 µm, 2.1 mm x 75 mm; Waters) | reverse phase
Shimadzu LC-10AD pump and SCL-10A controller | ACQUITY UPLC BEH C18 (1.7 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Shimadzu LC-30A Nexera UHPLC system | ACQUITY UPLC BEH C18 (1.7 µm, 2.1 mm x 150 mm; Waters) | reverse phase
Shimadzu LC-30AD pump and CBM-20A controller | ACQUITY UPLC BEH C8 (1.7 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Shimadzu Nexera UHPLC system | ACQUITY UPLC BEH C8 (1.8 µm, 1 mm x 100 mm; Waters) | reverse phase
Shimadzu Nexera UHPLC system (LC-30AD pump and CBM-20A controller) | ACQUITY UPLC BEH HILIC (1.7 µm, 2.1 mm x 150 mm; Waters) | HILIC
Shimadzu Nexera X2 UHPLC system (binary pump, DGU-20A degasser, and CBM-20A controller) | ACQUITY UPLC BEH Phenyl (1.7 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Shimadzu Prominence HPLC system | ACQUITY UPLC BEH Shield RP18 (1.7 µm, 2.1 mm x 50 mm; Waters) | reverse phase
Shimadzu Prominence LC-20AD system | ACQUITY UPLC C18 (1.7 µm, 2.1 mm x 50 mm; Waters) | reverse phase
Shimadzu Prominence UFLC system | ACQUITY UPLC CSH C18 (1.7 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Shimadzu Prominence UFLCXR system | ACQUITY UPLC CSH C18 (1.7 µm, 2.1 mm x 150 mm; Waters) | reverse phase
Shimadzu SIL20-A LC system | ACQUITY UPLC CSH Phenyl-Hexyl (1.7 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Thermo Scientific Accela 600 Pump | ACQUITY UPLC HSS C18 (1.8 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Thermo Scientific Accela 1250 Pump | ACQUITY UPLC HSS Cyano (CN) (1.8 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Thermo Scientific Accela II HPLC system | ACQUITY UPLC HSS T3 (1.7 µm, 2 mm x 150 mm; Waters) | reverse phase
Thermo Scientific Accela UHPLC System | ACQUITY UPLC HSS T3 (1.8 µm, 1 mm x 100 mm; Waters) | reverse phase
Thermo Scientific Dionex Ultimate 3000 HPLC system | ACQUITY UPLC HSS T3 (1.8 µm, 2.1 mm x 50 mm; Waters) | reverse phase
Thermo Scientific Dionex UltiMate 3000 System | ACQUITY UPLC HSS T3 (1.8 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Thermo Scientific Dionex UltiMate 3000 RSLC System | ACQUITY UPLC HSS T3 (1.8 µm, 2.1 mm x 150 mm; Waters) | reverse phase
Thermo Scientific Dionex UltiMate 3000 RSLCnano System | Alltima HP C18 (3 µm, 2.1 mm x 150 mm; Alltech) | reverse phase
Thermo Scientific Dionex Ultimate 3000 UHPLC system | AQUASIL C18 (5 µm, 2.1 mm x 50 mm; Thermo Scientific) | reverse phase
Thermo Scientific Dionex UltiMate 3000 XRS System | Ascentis Express C18 (2.7 µm, 2.1 mm x 100 mm; Sigma-Aldrich) | reverse phase
Thermo Scientific Dionex UltiMate HPLC system | Ascentis Express C18 (2.7 µm, 2.1 mm x 150 mm; Sigma-Aldrich) | reverse phase
Thermo Scientific Dionex UltiMate LC system | Ascentis Express C18 (2.7 µm, 2.1 mm x 150 mm; Supelco) | reverse phase
Thermo Scientific EASY-nLC System (UPLC) | Atlantis T3 (5 µm, 4.6 mm x 150 mm; Waters) | reverse phase
Thermo Scientific EASY-nLC 1000 System (UPLC) | Ascentis Express C8 (2.7 µm, 2.1 mm x 50 mm; Sigma-Aldrich) | reverse phase
Thermo Scientific EASY-nLC 1200 System (UPLC) | Betasil C1 (5 µm, 2.1 mm x 50 mm; Thermo Scientific) | reverse phase
Thermo Scientific Surveyor HPLC system | BETASIL Diol (5 µm, 2.1 mm x 150 mm; Thermo Scientific) | normal phase
Thermo Scientific Surveyor MS Pump Plus | C18 (3 μm, 1 mm x 75 mm; ACE) | reverse phase
Thermo Scientific Vanquish UHPLC System | C18 (3.5 µm, 2.1 mm x 150 mm; Agilent Technologies) | reverse phase
Waters 1525 Micro Binary HPLC Pump | C18 100 Å (1.8 µm, 2.1 mm x 100 mm; Agilent Technologies) | reverse phase
Waters nanoACQUITY UPLC system | C18-PFP (2 μm, 2.1 mm x 150 mm; ACE) | reverse phase
Waters ACQUITY UPLC H-Class System | Carotenoid (C30) (3 µm, 2.1 mm x 250 mm; YMC) | reverse phase
Waters ACQUITY UPLC I-Class System | Cogent Diamond Hydride (3 µm, 2.1 mm x 150 mm; MicroSolv Technologies) | normal phase
Waters ACQUITY UPLC M-Class System | CORTECS UPLC C18 (1.6 µm, 2.1 mm x 100 mm; Waters) | reverse phase
Waters ACQUITY UPLC system | CORTECS UPLC HILIC (1.6 µm, 2.1 mm x 100 mm; Waters) | HILIC
Waters ACQUITY UPLC system and PDA detector | Discovery HS C18 (3 µm, 2.1 mm x 150 mm; Supelco) | reverse phase
Waters Alliance 2695 Separations Module (modified) | Discovery HS F5 (3 µm, 2.1 mm x 150 mm; Thermo Scientific) | reverse phase
| Gemini C18 110 Å (5 µm, 2 mm x 150 mm; Phenomenex) | reverse phase
| Gemini NX-C18 (3 µm, 2 mm x 150 mm; Phenomenex) | reverse phase
| Hypercarb Porous Graphitic Carbon (3 µm, 1 mm x 100 mm; Thermo Scientific) | reverse phase
| Hypercarb Porous Graphitic Carbon (3 µm, 2 mm x 100 mm; Thermo Scientific) | reverse phase
| Hypersil C1 (5 µm, 2.1 mm x 50 mm; Thermo Scientific) | reverse phase
| Hypersil GOLD aQ (1.9 µm, 2.1 mm x 100 mm; Thermo Scientific) | reverse phase
| Hypersil GOLD C18 (1.9 µm, 1 mm x 150 mm; Thermo Scientific) | reverse phase
| Hypersil GOLD C18 (1.9 µm, 2.1 mm x 50 mm; Thermo Scientific) | reverse phase
| Hypersil GOLD C18 (1.9 µm, 2.1 mm x 100 mm; Thermo Scientific) | reverse phase
| Hypersil GOLD C18 (1.9 µm, 2.1 mm x 150 mm; Thermo Scientific) | reverse phase
| Hypersil GOLD C18 (3 µm, 2.1 mm x 100 mm; Thermo Scientific) | reverse phase
| iHILIC-Fusion HILIC (5 µm, 2.1 mm x 50 mm; Hilicon) | HILIC
| Inertsil ODS-3 (3 µm, 4.6 mm x 150 mm; GL Sciences) | reverse phase
| InfinityLab Poroshell 120 Phenyl-Hexyl (1.9 µm, 3 mm x 150 mm; Agilent Technologies) | reverse phase
| Intensity Solo 2 C18 (1.7 µm, 2.1 mm x 100 mm; Bruker) | reverse phase
| Jupiter C18 300 Å (5 µm, 2 mm x 250 mm; Phenomenex) | reverse phase
| Kinetex C8 100 Å (1.7 µm, 2.1 mm x 100 mm; Phenomenex) | reverse phase
| Kinetex C18 100 Å (1.7 µm, 2.1 mm x 100 mm; Phenomenex) | reverse phase
| Kinetex C18 100 Å (2.6 µm, 2.1 mm x 100 mm; Phenomenex) | reverse phase
| Kinetex C18 100 Å (2.6 µm, 2.1 mm x 150 mm; Phenomenex) | reverse phase
| Kinetex C18 100 Å (2.6 µm, 3 mm x 150 mm; Phenomenex) | reverse phase
| Kinetex C18 100 Å (3.5 µm, 2.1 mm x 150 mm; Phenomenex) | reverse phase
| Kinetex C18 100 Å (5 µm, 2.1 mm x 150 mm; Phenomenex) | reverse phase
| Kinetex EVO C18 100 Å (1.7 µm, 2.1 mm x 100 mm; Phenomenex) | reverse phase
| Kinetex F5 100 Å (2.6 µm, 2.1 mm x 100 mm; Phenomenex) | reverse phase
| Kinetex HILIC 100 Å (2.6 µm, 2.1 mm x 50 mm; Phenomenex) | HILIC
| Kinetex HILIC 100 Å (2.6 µm, 2.1 mm x 150 mm; Phenomenex) | HILIC
| Kinetex HILIC 100 Å (2.6 µm, 3 mm x 150 mm; Phenomenex) | HILIC
| Kinetex XB-C18 100 Å (1.7 µm, 2.1 mm x 150 mm; Phenomenex) | reverse phase
| LiChrospher RP-18 (3 µm, 2.1 mm x 150 mm; Agilent Technologies) | reverse phase
| Luna (2 µm, 2 mm x 150 mm; Phenomenex) | reverse phase
| Luna C5 100 Å (5 µm, 4.6 mm x 50 mm; Phenomenex) | reverse phase
| Luna NH2 100 Å (3 µm, 2 mm x 150 mm; Phenomenex) | HILIC
| MonoBis Capillary Column (0.1 mm x 2 m; Kyoto Monotech) | reverse phase
| NUCLEODUR C18 Gravity (1.8 µm, 2.1 mm x 50 mm; Macherey-Nagel) | reverse phase
| NUCLEODUR C18 Isis (1.8 µm, 2 mm x 100 mm; HiChrom) | reverse phase
| NUCLEODUR HILIC (1.8 µm, 2 mm x 150 mm; Macherey-Nagel) | HILIC
| NUCLEOSHELL RP 18 (2.7 µm, 2 mm x 150 mm; Macherey-Nagel) | reverse phase
| Polaris C18 (1.8 µm, 2.1 mm x 250 mm; Agilent Technologies) | reverse phase
| Poroshell 120 EC-C8 (2.7 µm, 2.1 mm x 50 mm; Agilent Technologies) | reverse phase
| Poroshell 120 EC-C18 (2.7 µm, 3 mm x 100 mm; Agilent Technologies) | reverse phase
| PRP-X110S (7 µm, 2.1 mm x 100 mm; Hamilton) | reverse phase
| ReproSil-Pur Basic-C18 (2.4 µm, 0.5 mm x 150 mm; Dr. Maisch) | reverse phase
| SunFire C18 (3.5 µm, 2.1 mm x 150 mm; Waters) | reverse phase
| Synergi Fusion-RP 80 Å (4 µm, 2 mm x 150 mm; Phenomenex) | reverse phase
| Synergi Hydro-RP 80 Å (4 µm, 2 mm x 250 mm; Phenomenex) | reverse phase
| Synergi Hydro-RP 100 Å (2.5 µm, 2 mm x 100 mm; Phenomenex) | reverse phase
| Synergi Polar-RP (4 µm, 4.6 mm x 100 mm; Phenomenex) | reverse phase
| TARGA C18 (5 µm, 2.1 mm x 50 mm; Higgins Analytical) | reverse phase
| TARGA C18 (5 µm, 2.1mm x 100 mm; Higgins Analytical) | reverse phase
| TSKgel ODS-100V 100 Å (5 µm, 3 mm x 50 mm; Tosoh Bioscience) | reverse phase
| VisionHT C18-HL (1.5 µm. 2 mm x 150 mm; Alltech Grom) | reverse phase
| XAqua C18 (5 µm, 2.1 x 150 mm; Acchrom) | reverse phase
| XBridge BEH C18 (1.7 µm, 2.1 mm x 100 mm; Waters) | reverse phase
| XBridge BEH C18 (3.5 µm, 2.1 mm x 150 mm; Waters) | reverse phase
| XBridge BEH Amide XP (2.5 µm, 2.1 mm x 50 mm; Waters) | HILIC
| XBridge BEH Amide XP (2.5 µm, 2.1 mm x 100 mm; Waters) | HILIC
| XBridge BEH HILIC (5 µm, 4.6 mm x 150 mm; Waters) | HILIC
| XSelect HSS T3 (2.5 µm, 3.0 mm x 150 mm length; Waters) | reverse phase
| ZIC-HILIC (3.5 µm, 2.1 mm x 100 mm; Merck Sequant) | HILIC
| ZIC-HILIC 100 Å (3.5 µm, 2.1 mm x 150 mm; Merck Sequant) | HILIC
| ZIC-HILIC (5 µm, 4.6 mm x 150 mm; Merck Sequant) | HILIC
| ZIC-HILIC (5 µm, 2.1 mm x 100 mm; Merck Sequant) | HILIC
| ZIC-pHILIC (5 µm, 2.1 mm x 150 mm; Merck Sequant) | HILIC
| ZIC-pHILIC (5 µm, 4.6 mm x 150 mm; Canadian LifeScience) | HILIC
| ZIC-pHILIC (5 µm, 4.6 mm x 150 mm; HiChrom) | HILIC
| ZIC-pHILIC (5 µm, 4.6 mm x 150 mm; Merck Sequant) | HILIC
| ZORBAX C18 (1.8 µm, 2.1 mm x 100 mm; Agilent Technologies) | reverse phase
| ZORBAX C18 (5 µm, 0.5 mm x 150 mm; Agilent Technologies) | reverse phase
| ZORBAX Eclipse Plus C18 (1.8 µm, 2.1 mm x 100 mm; Agilent Technologies) | reverse phase
| ZORBAX Eclipse Plus C18 (1.8 µm, 2.1 mm x 50 mm; Agilent Technologies) | reverse phase
| ZORBAX Eclipse Plus C18 (1.8 µm, 3 mm x 150 mm; Agilent Technologies) | reverse phase
| ZORBAX Eclipse Plus C18 (3.5 µm, 4.6 mm x 100 mm; Agilent Technologies) | reverse phase
| ZORBAX Eclipse XDB C18 (3.5 µm, 3 mm x 100 mm; Agilent Technologies) | reverse phase
| ZORBAX Eclipse XDB C18 (5 µm, 4.6 mm x 250 mm; Agilent Technologies) | reverse phase
| ZORBAX Extend-C18 (3.5 µm, 2.1 mm x 50 mm; Agilent Technologies) | reverse phase
| ZORBAX RRHD Eclipse Plus C18 95 Å (1.8 µm, 2.1 mm x 100 mm; Agilent Technologies) | reverse phase
| ZORBAX RRHD SB-C18 (1.8 µm, 2.1 mm x 100 mm; Agilent Technologies) | reverse phase
| ZORBAX RRHT Extend-C18 (1.8 µm, 2.1 mm x 100 mm; Agilent Technologies) | reverse phase
| HSS T3 (1.8 µm, 0.15 mm x 260 mm; In-house) | reverse phase
CE/MS Study
Parameter Value[Chromatography Instrument] | Parameter Value[Column model] | Parameter Value[Column type]
Agilent 1100 Series Isocratic Pump, G1603A CE-MS Adapter Kit, and G1607A CE-ESI-MS Sprayer Kit | CE bare fused-silica capillary (50 μm x 800 mm; Agilent Technologies) | normal phase
Agilent 1600A Capillary Electrophoresis, Agilent 1100 Series Isocratic Pump, and G1607A CE-ESI-MS Sprayer Kit | CE bare fused-silica capillary (50 μm x 1,000 mm; Agilent Technologies)
Agilent 7100 CE System
LC/MS Study (TriVersa NanoMate)
Parameter Value[Chromatography Instrument] | Parameter Value[Ion source]
Advion TriVersa NanoMate | MS:nanoelectrospray
REI/MS Study
Parameter Value[Chromatography Instrument] | Parameter Value[Ion source]
Erbe Elektromedizin Handheld Bipolar Probe | MS:electrospray ionization
TECAN Freedom Evo 75 (with modified stainless steel probe) and SciRobotics Pickolo Colony-Picker
SPE/IMS/MS Study
Parameter Value[Chromatography Instrument] | Parameter Value[Cartridge type]
Agilent RapidFire 365 | C18
mixed mode
graphitic carbon
HILIC
SESI/MS Study
Parameter Value[Chromatography Instrument] | Parameter Value[Ion source]
MS:electrospray ionization
LC/MS Study (Mass Spectometry)
Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer]
AB SCIEX API 4000 | MS:electrospray ionization | triple quadrapole
AB SCIEX QTRAP 4000 | MS:nanoelectrospray | hybrid triple quadrupole-linear ion trap
AB SCIEX QTRAP 4500 | secondary electrospray ionization | triple quadrapole
AB SCIEX QTRAP 4500 | MS:atmospheric pressure chemical ionization | hybrid triple quadrupole-linear ion trap
AB SCIEX QTRAP 5500 |  | CHMO:linear quadrupole ion trap mass-to-charge analyser
AB SCIEX QTRAP 5500 |  | triple quadrapole
AB SCIEX QTRAP 6500 |  | hybrid triple quadrupole-linear ion trap
AB SCIEX Triple Quad 5500 |  | triple quadrupole
AB SCIEX TripleTOF 5600 |  | quadrupole time-of-flight
AB SCIEX TripleTOF 5600+ |  | quadrupole time-of-flight
AB SCIEX TripleTOF 6600 |  | quadrupole time-of-flight
AB SCIEX TripleTOF 6600+ |  | quadrupole time-of-flight
Agilent 6210 TOF |  | MS:time-of-flight
Agilent 6224 Accurate-Mass TOF |  | MS:time-of-flight
Agilent 6230 Accurate-Mass TOF |  | MS:time-of-flight
Agilent 6430 Triple Quadrupole |  | triple quadrupole
Agilent 6460 Triple Quadrupole |  | triple quadrupole
Agilent 6490 Triple Quadrupole |  | triple quadrupole
Agilent 6495 Triple Quadrupole |  | triple quadrupole
Agilent 6495A Triple Quadrupole |  | triple quadrupole
Agilent 6520 Q-TOF |  | quadrupole time-of-flight
Agilent 6520A Q-TOF |  | quadrupole time-of-flight
Agilent 6530 Accurate-Mass Q-TOF |  | quadrupole time-of-flight
Agilent 6530A Accurate-Mass Q-TOF |  | quadrupole time-of-flight
Agilent 6530B Accurate-Mass Q-TOF |  | quadrupole time-of-flight
Agilent 6540 Q-TOF |  | quadrupole time-of-flight
Agilent 6545 Q-TOF |  | quadrupole time-of-flight
Agilent 6550 iFunnel Q-TOF |  | quadrupole time-of-flight
Agilent 6560 Ion Mobility Q-TOF |  | quadrupole time-of-flight
Bruker APEX-Qe 9.4T |  | CHMO:ion cyclotron resonance cell
Bruker CaptiveSpray nanoBooster and amaZon speed |  | MS:ion trap
Bruker compact |  | quadrupole time-of-flight
Bruker Esquire 3000 |  | MS:quadrupole ion trap
Bruker Esquire 6000 |  | MS:quadrupole ion trap
Bruker impact II UHR-TOF |  | quadrupole time-of-flight
Bruker maXis impact UHR-QTOF |  | quadrupole time-of-flight
Bruker maXis UHR-ToF |  | quadrupole time-of-flight
Bruker maXis 4G UHR-ToF |  | quadrupole time-of-flight
Bruker micrOTOF |  | MS:time-of-flight
Bruker micrOTOF-Q I |  | quadrupole time-of-flight
Bruker micrOTOF-Q II |  | quadrupole time-of-flight
Bruker micrOTOF-Q III |  | quadrupole time-of-flight
Bruker scimaX MRMS |  | CHMO:ion cyclotron resonance cell
Bruker solariX FTMS |  | CHMO:ion cyclotron resonance cell
Shimadzu LCMS-8050 |  | triple quadrupole
Shimadzu LCMS-IT-TOF |  | ion trap time-of-flight
Thermo Fisher LTQ |  | CHMO:linear quadrupole ion trap mass-to-charge analyser
Thermo Scientific Exactive |  | MS:orbitrap
Thermo Scientific Exactive Plus |  | MS:orbitrap
Thermo Scientific LTQ FT Ultra |  | CHMO:ion cyclotron resonance cell
Thermo Scientific LTQ FT Ultra |  | CHMO:linear quadrupole ion trap mass-to-charge analyser
Thermo Scientific LTQ Orbitrap |  | MS:orbitrap
Thermo Scientific LTQ Orbitrap Classic |  | MS:orbitrap
Thermo Scientific LTQ Orbitrap Classic |  | CHMO:linear quadrupole ion trap mass-to-charge analyser
Thermo Scientific LTQ Orbitrap XL |  | MS:orbitrap
Thermo Scientific LTQ Orbitrap XL |  | CHMO:linear quadrupole ion trap mass-to-charge analyser
Thermo Scientific LTQ Orbitrap Discovery |  | MS:orbitrap
Thermo Scientific LTQ Orbitrap Velos |  | MS:orbitrap
Thermo Scientific LTQ Orbitrap Velos ETD |  | MS:orbitrap
Thermo Scientific LTQ Linear Ion Trap |  | CHMO:linear quadrupole ion trap mass-to-charge analyser
Thermo Scientific LTQ XL linear ion trap |  | CHMO:linear quadrupole ion trap mass-to-charge analyser
Thermo Scientific Orbitrap Elite |  | MS:orbitrap
Thermo Scientific Orbitrap Fusion |  | MS:orbitrap
Thermo Scientific Orbitrap Fusion Lumos Tribrid |  | MS:orbitrap
Thermo Scientific Orbitrap Velos Pro |  | MS:orbitrap
Thermo Scientific Q Exactive |  | MS:orbitrap
Thermo Scientific Q Exactive Focus |  | MS:orbitrap
Thermo Scientific Q Exactive HF |  | MS:orbitrap
Thermo Scientific Q Exactive Plus |  | MS:orbitrap
Thermo Scientific TSQ Quantiva |  | triple quadrupole
Thermo Scientific TSQ Quantum Access MAX |  | triple quadrupole
Thermo Scientific TSQ Quantum Ultra |  | triple quadrupole
Thermo Scientific TSQ Vantage |  | triple quadrupole
Thermo Scientific Velos Pro |  | MS:ion trap
Waters ACQUITY TQD |  | triple quadrupole
Waters LCT Premier |  | MS:time-of-flight
Waters Micromass Q-Tof micro |  | quadrupole time-of-flight
Waters Micromass Quattro micro API |  | triple quadrupole
Waters Q-Tof Premier |  | quadrupole time-of-flight
Waters Quattro Premier XE |  | triple quadrupole
Waters SYNAPT G1 HDMS System |  | quadrupole time-of-flight
Waters SYNAPT G2 HDMS System |  | quadrupole time-of-flight
Waters SYNAPT G2-S HDMS |  | quadrupole time-of-flight
Waters SYNAPT G2-Si HDMS |  | quadrupole time-of-flight
Waters SYNAPT HDMS System |  | quadrupole time-of-flight
Waters Xevo G2 Tof |  | MS:time-of-flight
Waters Xevo G2 QTof |  | quadrupole time-of-flight
Waters Xevo G2-S QTof |  | quadrupole time-of-flight
Waters Xevo G2-S Tof |  | MS:time-of-flight
Waters Xevo G2-XS QTof |  | quadrupole time-of-flight
Waters Xevo TQ |  | triple quadrupole
Waters Xevo TQ MS |  | triple quadrupole
Waters Xevo TQ-S |  | triple quadrupole
Waters Xevo TQ-S micro |  | triple quadrupole
Waters Xevo TQ-XS |  | triple quadrupole
LC/MS (MALDI TOF)
Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer]
AB SCIEX 4800 Plus MALDI TOF/TOF | MS:matrix-assisted laser desorption ionization | MS:time-of-flight
AB SCIEX TOF/TOF 5800 |  | MS:time-of-flight
Bruker ultrafleXtreme |  | MS:time-of-flight
LC/MS Study (Autosampler)
Parameter Value[Autosampler model]
Agilent 1260 Infinity Autosampler
Agilent 1290 Infinity II Multisampler
Beckman Coulter System Gold HPLC 508 autosampler
CTC Analytics HTC PAL Autosampler
CTC Analytics HTC PAL Autosampler with DLW
FAMOS autosampler
GERSTEL MPS 2 autosampler
Shimadzu SIL-30AC autosampler
Thermo Scientific Accela Autosampler
Thermo Scientific Accela Open Autosampler
Thermo Scientific Micro AS Autosampler
Thermo Scientific UltiMate WPS-3000 PL RS Autosampler
Thermo Scientific UltiMate WPS-3000 RS Autosampler
Thermo Scientific UltiMate WPS-3000 TPL RS Autosampler
Thermo Scientific UltiMate WPS-3000 TRS Autosampler
Waters 2777 Sample Manager
Waters 2777C Sample Manager
Waters ACQUITY UPLC Sample Organizer
LC/MS Study (Guard)
Parameter Value[Guard column]
Acclaim C18 Guard Column (4 mm x 4 mm; Thermo Scientific)
ACQUITY UPLC BEH C18 VanGuard Pre-column (1.7 µm, 2.1 mm x 5 mm; Waters)
ACQUITY UPLC BEH Phenyl VanGuard Pre-column, 130Å (1.7 µm, 2.1 mm x 5 mm; Waters)
ACQUITY UPLC HSS Cyano (CN) VanGuard Pre-column (1.8 µm, 2.1 mm x 5 mm; Waters)
ACQUITY UPLC HSS T3 VanGuard Pre-column (1.8 µm, 2.1 mm x 5 mm; Waters)
Alltima HP-Guard C18 (2.1 x 7.5 mm; Alltech)
Ascentis Express C18 Guard Cartridge (2.7 µm, 2.1 mm x 5 mm; Supelco)
BETASIL Diol Guard Cartridge (5 µm, 2.1 mm x 10 mm; Thermo Scientific)
Discovery HS C18 Supelguard (3 µm, 2.1 mm x 20 mm; Supelco)
Guard Cartridge (4.6 mm x 20 mm; YMC)
Hypersil GOLD C18 Guard (3 µm, 2.1 mm x 10 mm; Thermo Scientific)
KrudKatcher Ultra (Phenomenex)
NUCLEODUR HILIC Guard pre-column (1.8 µm, 2 mm x 4 mm; Macherey-Nagel)
Online prefilter (Interchim)
SecurityGuard C18 (2 mm x 4 mm; Phenomenex)
SecurityGuard C18 (3 mm x 4 mm; Phenomenex)
SecurityGuard NH2 (2 mm x 4 mm; Phenomenex)
SecurityGuard NX-C18 (2 mm x 4 mm; Phenomenex)
SecurityGuard ULTRA C18 (2.1 mm x 2 mm; Phenomenex)
Supelco Precolumn Filter (Merck Sequant)
TSKgel ODS-100V Guard Cartridge (5 µm, 2 mm x 10 mm; Tosoh Bioscience)
XBridge BEH C18 Sentry Guard Cartridge (3.5 µm, 2.1 mm x 10 mm; Waters)
ZIC-HILIC Guard (3.5 µm, 2.1 mm x 20 mm; Merck Sequant)
ZIC-pHILIC Guard (5 µm, 2.1 mm x 20 mm; Merck Sequant)
2 µl C4 trap column (Optimize Technologies)
LC/DAD (Diode Array Detector)
Parameter Value[Detector] | Parameter Value[Signal range] | Parameter Value[Resolution]
Waters ACQUITY UPLC PDA Detector | 190-500 nm | 0.25 nm
Waters ACQUITY UPLC PDA Detector | 210-450 nm | 2 nm
Waters ACQUITY UPLC PDA eλ Detector | 250-600 nm | 1.2 nm
Agilent 1290 Infinity DAD Detector | 200-600 nm | 1 nm
DESI/MS
Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer]
Thermo Scientific Exactive | MS:desorption electrospray ionization | MS:orbitrap
DART/MS
Protocol REF | Parameter Value[DI Instrument] | Protocol REF | Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer]
| IonSense Inc. DART SVP ionization source coupled by VAPUR interface | Mass spectrometry | Waters Xevo G2-S QTof | MS:atmospheric pressure chemical ionization | quadrupole time-of-flight

## MS Imaging
Parameter Value[Sample mounting] | Parameter Value[Sample preservation] | Parameter Value[Sectioning instrument] | Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer] | Parameter Value[Line scan direction] | Parameter Value[Line scan sequence] | Parameter Value[Scan pattern] | Parameter Value[Scan type]
Glass slide | Fresh frozen | Thermo Scientific Shandon Cryotome | Bruker solariX XR | MS:electrospray ionization | Hybrid Qh-FTMS | linescan left right | top down | flyback | horizontal
Thermo Scientific X72 SuperFrost Plus Adhesion slide |  | Thermo Scientific Microm HM550 Cryostat | Thermo Scientific LTQ Orbitrap XL ETD | MS:matrix-assisted laser desorption ionization | MS:orbitrap
Thermo Scientific FB58628 Fisherbrand Glass slide |  | Leica CM3050 S | Thermo Scientific MALDI LTQ Orbitrap XL
Thermo Scientific SuperFrost Glass slide |  |  | Thermo Scientific MALDI LTQ Orbitrap Discovery
Delta Electronics ITO one surface glass slide |  |  | Thermo Scientific Orbitrap Elite
Thermo Scientific Polysine Adhesion Slide

## PTRMS
Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer]
Radboud University PTR-MS | hollow cathode discharge ionization | MS:quadrupole
MS:time-of-flight

## Study Design Descriptors
Study Design Descriptors
ADW:Commensal species
ADW:Phytoplankton
Ash dieback
AURA:Blood-Brain-Barrier
AURA:Opportunistic-Pathogen
BAO:real-time PCR
Biocrates
BIOMODELS:multi-species biofilm formation
blood metabolome
BTO:urine
Callipyge mutation
carbon tracking
cardioprotection
CCO:ABCC5
CCO:MRP5
CCON:community dynamics
CCON:species diversity
CHEBI:2-hydroxybutyrate
CHEBI:kainic acid
CHEBI:Obestatin
CHEBI:phenylpropanoid
CHEBI:phospholipid
CHEBI:sesquiterpene
CHEBI:Vomitoxin
CHEBI:wax ester
CHMO:capillary electrophoresis-mass spectrometry
CHMO:confocal microscopy
CHMO:desorption electrospray ionisation mass spectrometry
CHMO:diode array detector
CHMO:fermentation
CHMO:Fourier transform ion cyclotron resonance mass spectrometry
CHMO:gas chromatography-mass spectrometry
CHMO:gas chromatography time-of-flight mass spectrometry
CHMO:headspace solid-phase micro-extraction
CHMO:high-performance liquid chromatography-mass spectrometry
CHMO:high-resolution magic angle spinning
CHMO:hydrophilic interaction chromatography
CHMO:liquid chromatography-mass spectrometry
CHMO:liquid chromatography-tandem mass spectrometry
CHMO:magic angle spinning nuclear magnetic resonance spectroscopy
CHMO:matrix-assisted laser desorption-ionisation imaging mass spectrometry
CHMO:matrix-assisted laser desorption-ionisation mass spectrometry
CHMO:matrix-assisted laser desorption-ionisation time-of-flight mass spectrometry
CHMO:nuclear magnetic resonance spectroscopy
CHMO:reversed-phase solid-phase extraction
CHMO:solid-phase micro-extraction
CHMO:spiking
CHMO:tandem mass spectrometry
CHMO:thermal desorption-gas chromatography mass spectrometry
CHMO:time-of-flight mass spectrometry
CHMO:trimethylsilyl derivatisation
CHMO:1H nuclear magnetic resonance spectroscopy
CHMO:two-dimensional 1H nuclear magnetic resonance spectroscopy
CHMO:two-dimensional gas chromatography
two-dimensional gas chromatography mass spectrometry
CHMO:ultra-performance liquid chromatography-mass spectrometry
CHMO:imaging mass spectrometry
Clinical Biochemistry
CO-WHEAT:scab
Comparative LC/MS-based profiling
correlation analysis
COSY
CSEO:Lipidomics
Danish Test Panel
Desorption electrospray ionisation imaging mass spectrometry
DIAB:hyperosmolarity
Direct Infusion Mass Spectrometry
dissolved organic matter
DOID:breast cancer
DOID:colorectal adenocarcinoma
DOID:colorectal cancer
DOID:ischemia
DOID:kidney cancer
DOID:liver cancer
DOID:lung cancer
EDAM:Peak detection
EFO:aging
EFO:Alzheimers disease
EFO:Alzheimer's disease
EFO:arthritis
EFO:biomarker
EFO:cancer
EFO:cell culture
EFO:cell line
EFO:chronic hepatitis B infection
EFO:cirrhosis of liver
EFO:colorectal cancer
EFO:Crohn's disease
EFO:diabetes mellitus
EFO:drug
EFO:dry eye syndrome
EFO:fasting
EFO:fever
EFO:hepatocellular carcinoma
EFO:high fat diet
EFO:hyperosmotic salinity response
EFO:hypertrophy
EFO:infection
EFO:inflammation
EFO:inflammatory bowel disease
EFO:inflammatory response
EFO:injury design
EFO:malaria
EFO:MCF-7
EFO:metabolic syndrome
EFO:metabolomic profiling
EFO:neuroblastoma
EFO:non-alcoholic fatty liver disease
EFO:obesity
EFO:portion of plant tissue
EFO:Pseudoxanthoma elasticum
EFO:response to osmotic stress
EFO:sepsis
EFO:sexual dimorphism
EFO:software
EFO:stem cell
EFO:time series design
EFO:ulcerative colitis
endometabolome
ENVO:coral reef
ENVO:marine sponge reef
ENVO:microbial mat
ENVO:sea water
ERO:metabolic phenotyping
exometabolome
Free amino acid target analysis
genome-scale modeling
glutamate analogs
glutamate conjugates
GO:drug transport
GO:leaf development
GO:MAPK phosphatase export from nucleus
GO:neurotransmitter transport
GO:response to salt stress
GO:seed development
GO:type III protein secretion system complex
HP:Acute kidney injury
IDO:parasite host
IDO:pathogen host
immunometabolism
isotopologue
JERM:Fluxomics
JERM:Transcriptomics
lipid profiling
liquid chromatogaphy-mass spectrometry data simulation
LOINC:Cognitive Status, Mood and Pain:-:Pt:^Patient:-
maternal undernutrition
MEDDRA:Dyslipidaemia
MESH:Anesthesia
MESH:avrPto protein, Pseudomonas syringae
MESH:BIIE 0246
MESH:Caloric Restriction
MESH:Carbon Cycle
MESH:Diet, High-Fat
MESH:Epidemiologic Studies
MESH:Herbivory
MESH:Host-Pathogen Interactions
MESH:Iridoid Glucosides
MESH:Ischemic Preconditioning
MESH:Lipid Droplets
MESH:Lipogenesis
MESH:Multivariate Analysis
MESH:neuropeptide Y2 receptor
MESH:Single-Cell Analysis
MESH:Transcription Factors
MESH:Phototrophic Processes
metabolic network reconstruction
MetaboQuant
Microarrays for Mass Spectrometry (MAMS)
MP:cardiac fibrosis
MS:data processing software
MS:flow injection analysis
MS:inductively coupled plasma
MS:LC-MS label-free quantitation analysis
MS:XCMS
multiple alignment performance reference generation
multiple peak alignment
Natural variation
municipal effluent
NCBITAXON:Agrilus planipennis
NCBITAXON:Hymenoscyphus fraxineus
NCBITAXON:Pseudomonas syringae pv. tomato str. DC3000
NCIT:ABCC6 Gene
NCIT:Algorithm
NCIT:Apoptosis
NCIT:Autophagy
NCIT:Bariatric Surgery
NCIT:Biomarker
NCIT:Bronchoalveolar Lavage Fluid
NCIT:Cancer Immunology
NCIT:Catheterization
NCIT:Chemotherapy
NCIT:Chronic Obstructive Pulmonary Disease
NCIT:Cigarette Smoking
NCIT:Cohort Study
NCIT:Diabetic Retinopathy
NCIT:Diagnosis
NCIT:DNA Analysis
NCIT:DNA-Binding Protein Ikaros
NCIT:Early Detection
NCIT:Encephalopathy
NCIT:Epidemiology
NCIT:Exogenous Obesity
NCIT:Fatty Acid Metabolism
NCIT:Gene Knockout
NCIT:H1N1 Influenza
NCIT:Hemorrhagic Shock
NCIT:Human Study Subject
NCIT:Hypoxia
NCIT:Influenza
NCIT:Latin Square Study
NCIT:Lipidomics
NCIT:Mouse Model
NCIT:Multidrug Resistance-Associated Protein 6
NCIT:Neurotoxin
NCIT:Nutrition
NCIT:Population Based Study
NCIT:Principal Component Analysis
NCIT:Proteomics
NCIT:Resveratrol
NCIT:Statistics
NCIT:Steatosis
NCIT:Tobacco Smoke
NCIT:Tumor Necrosis Factor
NCIT:Twin
NCIT:Type 1 Diabetes Mellitus
NCIT:Type 2 Diabetes Mellitus
NCIT:Variation
NCIT:Wine
NIFSTD:Benchmarking dataset
non-malarial febrile illness
OBI:comparative phenotypic assessment
OBI:correlation study objective
OBI:intervention design
OBI:oral administration
OBI:software pipeline
OBI:species comparison design
OBI:stimulus or stress design
open lipid profiling
open profiling
osmoprotectants
Pathway Elucidation
PDQ:brain tumor
Plant Metabolomics
PO:whole plant development stage
pre-B cell line B3
predictive markers
Remote ischemic conditioning
Respiratory capacity
RCD:Phenolics
sample variability
Sauvignon blanc
SBO:systems biology representation
sensory analysis
Serum global profiling
Shotgun lipidomics
SK-N-BE2
skin administration
SNMI:Salmonella typhimurium
SNOMEDCT:Stress tolerance
SOY:Seed phytate content
STATegra
SWEET:Horticulture
SWO:Metabolomics
SWO:Systems biology
targeted metabolites
time-course differentiation
tracer-based metabolomics
Training Dataset
UK Population
ultra-fast liquid chromatography-mass spectrometry
untargeted metabolite profiling
untargeted metabolites
urease pre-treatment
Urine global profiling
New Terms
Geno-to-phenotype association
FYPO:resistance to stress
multi-omic

## Study Factors
Study Factors
Accession | NCIT:Accession Number
Acquisition date | NCIT:Date
Acute Kidney Injury | EFO:injury
Adipose tissue | NCIT:Boolean
Age | EFO:age
Age at diagnosis | EFO:age at diagnosis
Age at time of first grafting | EFO:age
Age group | NCIT:Age Group
Analysis date | NCIT:Date
Anatomical brain region | NCIT:Anatomic Site
Anoxia incubation time | EFO:timepoint
Apple number | EFO:biological replicate
Apple Sample | EFO:biological replicate
AQP9 | BAO:gene knockout
Arabinose supplementation time | GO:regulation of gene expression
Base | HL7:base
Batch | EFO:block
Batch Number | NCIT:Batch Number
Batch number | EFO:block
Bitterness | PTO:fruit bitterness trait
blood plasma | CHEBI:mixture
BMI | EFO:body mass index
brown planthopper treatment | EFO:treatment
Caloric restriction | NCIT:Percentage
carbon source | BAO:substrate
Carbonate addition | NCIT:Boolean
Cell density | NCIT:Cell Density
Cell line | EFO:cell line
Cell number | NCIT:Cell Count
Cell Type | EFO:cell type
Chemotherapy response | NCIT:Yes, No, or Unknown Response
Chemotype | Chemotype
Chronic Fatigue Syndrome | CSSO:Fatigue
Classification | EFO:cultivar
Cluster effect | Cluster effect
CO2 Concentration | CHMO:concentration
Colour | NCIT:Color
Cognitive Status | NCIT:Group
Compound | NCIT:Compound
Connective tissue | NCIT:Boolean
control | EFO:control
Control | NCIT:Yes or No Response
control | NCIT:True False Response Terminology
Country | NCIT:Country
Cultivation Year | NCIT:Date
Cultivar | EFO:cultivar
Culture days before anoxia incubation | EFO:timepoint
Current chronological age | EFO:age
Day | NCIT:Day
depth | SWEET:Depth
Derivatisation | EFO:protocol
Derivatisation reagent | NCIT:Reagent
Development stage | EFO:timepoint
D-glucose | CHMO:concentration
Diabetes | NCIT:Diabetes Mellitus
Diastolic Blood Pressure | EFO:diastolic blood pressure
Dieback score | NCIT:Score
Diet | EFO:diet
Diet | NCIT:Group
Disease | EFO:disease
Disease staging | EFO:disease staging
Disease State | NEMO:disease_state
Dose | EFO:dose
Dose | NCIT:Unit of Dose Calculation
drought treatment | EFO:drought environment
Duration of forcing | EFO:duration
ER | EFO:estrogen receptor status
EthAc percentage | UO:volume percentage
Euglena strain | NCIT:Group
Exercise | NCIT:Walking
Experiment | EFO:replicate
Experiment | NCIT:Experiment
Experimental Group | NCIT:Group
Experimental Replication | EFO:replicate
ExposureDurationPhase1 | EFO:duration
ExposureDurationPhase2 | EFO:duration
Extract | NCIT:Group
Extraction replicate | EFO:technical replicate
Extraintestinal manifestations | TRAK:clinical manifestation
Exudate
Fasting time | EFO:timepoint
feeding | NCIT:Feeding
Frailty Index Score | SNOMEDCT:Frailty Index score
Fresh weight | PTO:plant fresh weight
Gender | NCIT:Gender
gene | EFO:gene
gene knockout | EFO:gene knock out
Genetic background | CSEO:Genetic background
Genotype | EFO:genotype
Geographic location | CHEMINF:geographic location
Glandular tissue | NCIT:Boolean
Glucose source | NCIT:Isotope
Glutamine | NCIT:Qualitative Concept
Grade | NCIT:Tumor Regression Grade
group | NCIT:Group
growth rate | UNITSONT:Events per hour
Growth Year | NCIT:Date
Harvesting Time | EFO:timepoint
Harvest date | NCIT:Date
HB-score | NCIT:Score
Height | EFO:body height
Her2 | EFO:HER2 status
HIAE | DOID:disease
Incubation time | EFO:timepoint
Infection | EFO:infection
Infection | NCIT:Yes or No Response
Injection number | EFO:technical replicate
Injection order | Injection order
Injection replicate | EFO:technical replicate
inorganic phosphate | CHMO:concentration
Label | NCIT:Isotope
Level measurement type | Level measurement type
Light conditions | EFO:light
liver fat | DOID:fatty liver disease
low dose insulin infusion | low dose insulin infusion
Material sample | EFO:material sample
Mayo-score | NCIT:Score
Medium | NCIT:Growth Medium
Menopause | NCIT:Menopausal Status
Metabolic strain design | MESH:Metabolic Engineering
Metabolic syndrome | EFO:metabolic syndrome
Mice | BRIDG:Subject
Most recent treatment | Therapeutic Procedure
Most recent treatment | NCIT:Therapeutic Procedure
Mother age | EFO:age
Mutation | EFO:genotype
N-stage | EFO:N stage
Neuropeptide Y and Y2 receptorblocker treatment | EFO:treatment
nutrient | EFO:nutrient
Nutritional status | MESH:Nutritional Status
Oligomycin | NCIT:Qualitative Concept
Origin | NCIT:Location
Osmolarity | MESH:Osmotic Pressure
Panda mother | NCIT:Mother
Patient | NCIT:Study Subject
Patient ID | NCIT:Patient
Peturbation | NCIT:Disruption
phase | NCIT:phase
Phenotype | EFO:phenotype
Plate Position | MS:position
Plate effect | NCIT:Group
platelet count | number density
Plot | CHEMINF:geographic location
Polarity | MS:scan polarity
POPs | CHEBI:persistent organic pollutant
Pregnancy duration | EFO:timepoint
Preparation replicate | EFO:biological replicate
Preservative | HL7:preservative
Primary Phototrophic cyanobacteria | EFO:organism
Production Type | NCIT:Production
Pulldown | Pulldown
Region | NCIT:Region
Renal cancer cells | NCIT:Yes or No Response
Replicate | EFO:biological replicate
Replicate | EFO:replicate
replicate | EFO:technical replicate
Resveratrol concentration | CHMO:concentration
rice seed developmental stage | days after flowering
RMSD | NCIT:Standard Deviation
Run order | Run order
Run day | Run order
Sample Collection | EFO:timepoint
sample material | NCIT:Tissue
Sample Replicate | EFO:biological replicate
sample treatment protocol | EFO:sample treatment protocol
Sample type | NCIT:Group
Sample type | CHMO:experimental sample
sampling date | NCIT:Date
Sampling time | EFO:sampling time
Season of sample collection | NCIT:Season
Section location | CNO:3D coordinates
Series | NCIT:Group
serum type | NCIT:Body Part
Sex | EFO:sex
Sex | NCIT:Gender
simulated detector noise | detector noise
simulated error profile distortion | error profile distortion
simulated mass error | mass error
siRNA | BAO:siRNA
Site | CHEMINF:geographic location
Smoking | MESH:Smoking
Smoking | NCIT:Smoking Status
Soil humidity | PECO:humidity of soil
Specimen | NCIT:Biospecimen
spectral library creation | EFO:genotype
Spectrum type | MS:spectrum type
Spiking | NCIT:Group
Stage | OBI:disease stage
station | SWEET:Station
Steatosis | EFO:fatty liver
stress | PTO:drought tolerance
Stroma tissue | NCIT:Boolean
Subacute toxicity | Subacute toxicity
Subject | NCIT:Clinical Trial Subject
Substrate | EFO:substrate
Survival | NCIT:Group
Systolic Blood Pressure | EFO:systolic blood pressure
T-stage | EFO:tumor stage
Technical Replicate Number | EFO:technical replicate
Temperature | EFO:temperature
Temperature of forcing | EFO:temperature
TestItemPhase1 | EFO:treatment
TestItemPhase2 | EFO:treatment
time | EFO:timepoint
Time | EFO:sampling time
Time | NCIT:Phase
Time collected | EFO:time
Time Collected | EFO:timepoint
Time Collected Urine sample | EFO:timepoint
time course | EFO:time
Time elapsed between last chemotherapy and serum collection | EFO:timepoint
Time elapsed between last radiation therapy and serum collection | EFO:timepoint
Time in nitrogen starvation | EFO:timepoint
Time of first grafting | NCIT:Date
Time point | EFO:timepoint
time point of drought duration | EFO:timepoint
Timepoint | EFO:timepoint
Timepoint | NCIT:Group
Tissue | NCIT:Tissue
Tissue location | NCIT:Location
tissue source | NCIT:Tissue
Tissue type | NCIT:Tissue
Tracer | CHEBI:tracer
Treatment | EFO:clinical treatment protocol
Treatment | EFO:plant treatment
Treatment | NCIT:Yeast
Treatment | EFO:response to wounding
Treatment | EFO:treatment
Treatment | NCIT:Group
Treatment | Lipopolysaccharide stimulation
Treatment | NCIT:Group
treatment days | EFO:timepoint
TreatPhase1 | EFO:treatment
TreatPhase2 | EFO:treatment
Tumour | NCIT:Boolean
Variability Level | NCIT:Location
Variety | EFO:cultivar
Variety | NCIT:Variety
Vineyard | ENVO:vineyard
Virus | EFO:Virus
volunteer | NCIT:Clinical Trial Subject
Weight | EFO:body weight
Year | NCIT:Date
Year analyzed | NCIT:Date
New Terms
Month of collection | TEO:Month | Define a particuar year
Year of collection | TEO:Year | Define a particular Month

## Pipeline MAF InputOutput
Original MAF Input (R1)
database_identifier | chemical_formula | smiles | inchi | metabolite_identification
Compound1
Compound2
Compound3typo
Compound4
Compound5
Compound6
maf_pubchem Output (R1)
database_identifier | chemical_formula | smiles | inchi | metabolite_identification | row_id | combination | search_flag | alt_name | pubchem_first_synonym | final_external_id | final_inchi
CHEBI:XXXXX |  |  |  | Compound1 | 1 |  | 1
|  |  |  | Compound2 | 2 |  | 1 |  |  | XXXXXXXX
|  |  |  | Compound3typo | 3 |  | 1
|  |  |  | Compound4 | 4 |  | 1
|  |  |  | Compound5 | 5 |  | 1
|  |  |  | Compound6 | 6 |  | 1
maf_complete.sdf (R1)
Compound2
MAF Output (R1)
database_identifier | chemical_formula | smiles | inchi | metabolite_identification
CHEBI:XXXXX |  |  |  | Compound1
Compound2
Compound3typo
Compound4
Compound5
Compound6
maf_pubchem Input (R2)
database_identifier | chemical_formula | smiles | inchi | metabolite_identification | row_id | combination | search_flag | alt_name | pubchem_first_synonym | final_external_id | final_inchi
CHEBI:XXXXX |  |  |  | Compound1 | 1 |  | 1
|  |  |  | Compound2 | 2 |  | 1 |  |  | XXXXXXXX
|  |  |  | Compound3corr | 3
|  |  |  | Compound4 | 4 |  |  | Common Name
|  |  |  | Compound5 | 5 |  | 1 |  |  | YYYYYYYY
|  |  |  | Compound6 | 6 |  | 1 |  |  | Compound6_pubchem.mol | InChI=XXXXXXXX
maf_pubchem Output (R2)
database_identifier | chemical_formula | smiles | inchi | metabolite_identification | row_id | combination | search_flag | alt_name | pubchem_first_synonym | final_external_id | final_inchi
CHEBI:XXXXX |  |  |  | Compound1 | 1 |  | 1
|  |  |  | Compound2 | 2 |  | 1 |  |  | XXXXXXXX
CHEBI:YYYYY |  |  |  | Compound3corr | 3 |  | 1
CHEBI:ZZZZZ |  |  |  | Compound4 | 4 |  | 1 | Common Name
|  |  |  | Compound5 | 5 |  | 1 |  |  | YYYYYYYY
|  |  |  | Compound6 | 6 |  | 1 |  |  | Compound6_pubchem.mol | InChI=XXXXXXXX
final_inchi is needed for subsequent ClassyFire search
maf_complete.sdf (R2)
Compound2
Compound5
Compound6
MAF Output (R2)
database_identifier | chemical_formula | smiles | inchi | metabolite_identification
CHEBI:XXXXX |  |  |  | Compound1
Compound2
CHEBI:YYYYY |  |  |  | Compound3corr
CHEBI:ZZZZZ |  |  |  | Compound4
Compound5
Compound6

## Sample Study Protocol
MTBLS1 (NMR) | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | Sample Definitions | [5 empty] | Assay
Study Protocol Name | Sample collection | Extraction | NMR sample | NMR spectroscopy | NMR assay | Data transformation | Metabolite identification |  | Source Name | Characteristics[Organism] | Characteristics[Organism part] | Protocol Ref | Sample Name | Factor Value.... | Sample Name | Protocol Ref | Para Val [Ext method] | Extract Name | Protocol Ref | Para Val [NMR tube type] | Para Val [solvent] | Para Val [pH] | Para Val [Temp] | Unit
Study Protocol Type | Sample collection | Extraction | NMR sample | NMR spectroscopy | NMR assay | Data transformation | Metabolite identification |  |  |  |  | Sample Collection |  |  |  | Extraction |  |  | NMR Sample |  |  |  |  | Kelvin
Description
URI | [14 empty] | Labelled ext name | Label | Protocol Ref | Para Val [Instrument] | Para Val [NMR Probe] | Para Val [No. transients] | Para Val [pulse seq name] | Para Val [mag field strength] | Unit
Version | [15 empty] | CHEBI:hydrogen molecular entity | NMR Spectroscopy | [5 empty] | Tesla
Parameters Name |  | Extraction Method | NMR tube type;Temperature;Sample pH;Solvent | Magnetic field strength;Pulse sequence name;Instrument;NMR Probe;Number of transients
Components Name | [14 empty] | Aquist Para Data file | Protocol Ref | NMR Assay Name | Free Induct Decay | Protocol Ref | Normilization name | Derived spec data file | Protocol Ref | Data trans name | MAF
Components Type | [15 empty] | NMR assay |  |  | Data transformation |  |  | Metabolite identification
MTBLS2 (LC-MS) | 1 | 2 | 3 | 4 | 5 | 6
Study Protocol Name | Sample collection | Extraction | Chromatography | Mass spectrometry | Data transformation | Metabolite identification
Study Protocol Type | Sample collection | Extraction | Chromatography | Mass spectrometry | Data transformation | Metabolite identification
Description
URI
Version
Parameters Name |  | Post Extraction;Derivatization | Chromatography Instrument;Column model;Column type | Scan polarity;Scan m/z range;Instrument;Mass analyzer;Ion source
Components Name
Components Type
MTBLS3 (GC-MS) | 1 | 2 | 3 | 4 | 5 | 6 |  |  | Sample Definitions | [5 empty] | Assay
Study Protocol Name | Sample collection | Extraction | Chromatography | Mass spectrometry | Data transformation | Metabolite identification |  |  | Source Name | Charac (Org) | Charac (Org part) | Protocol Ref | Sample Name | Factor Value.... | Sample Name | Protocol Ref | Para Val [Post extraction] | Para val [Derivitization] | Extract Name | Protocol Ref | Para Val [Chomatography instrument] | Para Val [Column model] | Para Val [Column type]
Study Protocol Type | Sample collection | Extraction | Chromatography | Mass spectrometry | Data transformation | Metabolite identification | [5 empty] | Sample Collection |  |  |  | Extraction |  |  |  | Chromatography
Description
URI | [14 empty] | Labelled ext name | Label | Protocol Ref | Para Val [Scan Polarity] | Para Val [Scan m/z range] | Para Val [Instrument] | Para Val [ion source] | Para Val [Mass analyser] | MS Assay name
Version | [15 empty] | no label? | Mass Spectrometry
Parameters Name |  | Post Extraction;Derivatization | Chromatography Instrument;Column type;Column model | Scan polarity;Scan m/z range;Instrument;Mass analyzer;Ion source
Components Name | [14 empty] | Raw spectral Data file | Protocol Ref | Normilization name | Derived spec data file | Protocol Ref | Data trans name | MAF
Components Type | [15 empty] | Data transformation |  |  | Metabolite identification
MTBLS103 (NMR and LC-MS) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Study Protocol Name | Sample collection | Extraction | NMR sample | NMR spectroscopy | NMR assay | Chromatography | Mass spectrometry | Data transformation | Metabolite identification
Study Protocol Type | Sample collection | Extraction | NMR sample | NMR spectroscopy | NMR assay | Chromatography | Mass spectrometry | Data transformation | Metabolite identification
Description
URI
Version
Parameters Name |  | Post Extraction;Derivatization | NMR tube type;Temperature;Sample pH;Solvent | Magnetic field strength;Pulse sequence name;Instrument;NMR Probe;Number of transients |  | Chromatography Instrument;Column type;Column model | Scan polarity;Scan m/z range;Instrument;Mass analyzer;Ion source
Components Name
Components Type

## Instrument Setups
Acronym | Full Name
3D DESI imaging MS | 3-Dimensional Desorption Electrospray Ionization imaging MS
3D LAESI imaging MS | 3-Dimensional Laser Ablation Electrospray Ionization imaging MS
3D MALDI imaging MS | 3-Dimensional Matrix Assisted Laser Desorption/Ionization imaging MS
3D MALDI imaging MS simulation | 3-Dimensional Matrix Assisted Laser Desorption/Ionization imaging MS simulation
CE-TOF-MS | Capillary Electrophoresis Time-Of-Flight MS
DART-QTOF-MS | Direct Analysis In Real Time Quadrupole Time-Of-Flight MS
DART-QTOF-MS/MS | Direct Analysis In Real Time Quadrupole Time-Of-Flight Tandem MS
DI-FT-ICR-MS | Direct Infusion Fourier Transform Ion Cyclotron Resonance MS
DI-FT-ICR-MS/MS | Direct Infusion Fourier Transform Ion Cyclotron Resonance Tandem MS
DI-LTQ-MS | Direct Infusion Linear Trap Quadrupole MS
DI-LTQ-MS/MS | Direct Infusion Linear Trap Quadrupole Tandem MS
DI-TOF-MS | Direct Infusion Time-Of-Flight MS
DI-TOF-MS/MS | Direct Infusion Time-Of-Flight Tandem MS
DI-TQ-MS | Direct Infusion Triple Quadrupole MS
DI-TQ-MS/MS | Direct Infusion Triple Quadrupole Tandem MS
FIA-LTQ-MS | Flow Injection Analysis Linear Trap Quadrupole MS
FIA-LTQ-MS/MS | Flow Injection Analysis Linear Trap Quadrupole Tandem MS
FIA-MS | Flow Injection Analysis MS
FIA-MS/MS | Flow Injection Analysis Tandem MS
FIA-QTOF-MS | Flow Injection Analysis Quadrupole Time-Of-Flight MS
FIA-QTOF-MS/MS | Flow Injection Analysis Quadrupole Time-Of-Flight Tandem MS
FIA-TQ-MS | Flow Injection Analysis Triple Quadrupole MS
FIA-TQ-MS/MS | Flow Injection Analysis Triple Quadrupole Tandem MS
GC-FID | Gas Chromatography Flame Ionisation Detector
GC-LTQ-MS | Gas Chromatography Linear Trap Quadrupole MS
GC-QIT-MS | Gas Chromatography Quadrupole Ion Trap MS
GC-Q-MS | Gas Chromatography Quadrupole MS
GC-QTOF-MS | Gas Chromatography Quadrupole Time-Of-Flight MS
GC-TOF-MS | Gas Chromatography Time-Of-Flight MS
GC-TQ-MS | Gas Chromatography Triple Quarupole MS
GC-TQ-MS/MS | Gas Chromatography Triple Quarupole Tandem MS
GCxGC-TOF-MS | Tandem Gas Chromatography Time-Of-Flight MS
HPLC-FT-ICR-MS | High Performance Liquid Chromatography Fourier Transform Ion Cyclotron Resonance MS
HPLC-IT-MS | High Performance Liquid Chromatography Ion Trap MS
HPLC-LTQ-FT-MS | High Performance Liquid Chromatography Linear Trap Quadrupole Fourier Transform MS
HPLC-LTQ-FT-MS/MS | High Performance Liquid Chromatography Linear Trap Quadrupole Fourier Transform Tandem MS
HPLC-LTQ-MS | High Performance Liquid Chromatography Linear Trap Quadrupole MS
HPLC-LTQ-MS/MS | High Performance Liquid Chromatography Linear Trap Quadrupole Tandem MS
HPLC-QIT-MS | High Performance Liquid Chromatography Quadrupole Ion Trap MS
HPLC-QTOF-MS | High Performance Liquid Chromatography Quadrupole Time-Of-Flight MS
HPLC-QTOF-MS/MS | High Performance Liquid Chromatography Quadrupole Time-Of-Flight Tandem MS
HPLC-TQ-MS | High Performance Liquid Chromatography Triple Quarupole MS
HPLC-TQ-MS/MS | High Performance Liquid Chromatography Triple Quarupole Tandem MS
In vivo MRS | In vivo Magnetic Resonance Spectroscopy
LC-FT-ICR-MS | Liquid Chromatography Fourier Transform Ion Cyclotron Resonance MS
LC-LTQ-FT-MS | Liquid Chromatography Linear Trap Quadrupole Fourier Transform MS
LC-LTQ-FT-MS/MS | Liquid Chromatography Linear Trap Quadrupole Fourier Transform Tandem MS
LC-LTQ-MS | Liquid Chromatography Linear Trap Quadrupole MS
LC-LTQ-MS/MS | Liquid Chromatography Linear Trap Quadrupole Tandem MS
LC-MS | Liquid Chromatography MS
LC-MS simulation | Liquid Chromatography MS simulation
LC-QTOF-MS | Liquid Chromatography Time-Of-Flight MS
LC-TQ-MS | Liquid Chromatography Triple Quadrupole MS
LC-TQ-MS/MS | Liquid Chromatography Triple Quadrupole Tandem MS
LMJ-SSP/ESI imaging MS | Liquid Microjunction-Surface Sampling Probe/Electrospray Ionization imaging MS
MALDI imaging MS | Matrix Assisted Laser Desorption/Ionization imaging MS
MALDI imaging MS/MS | Matrix Assisted Laser Desorption/Ionization imaging Tandem MS
MALDI-FT-ICR-MS | Matrix Assisted Laser Desorption/Ionization Fourier Transform Ion Cyclotron Resonance MS
MALDI-LTQ-MS | Matrix Assisted Laser Desorption/Ionization Linear Trap Quadrupole MS
MALDI-LTQ-MS/MS | Matrix Assisted Laser Desorption/Ionization Linear Trap Quadrupole Tandem MS
MALDI-TOF/TOF-MS | Matrix Assisted Laser Desorption/Ionization Time-Of-Flight MS
MALDI-TOF/TOF-MS/MS | Matrix Assisted Laser Desorption/Ionization Time-Of-Flight Tandem MS
MAS-NMR | Magic Angle Spinning-Nuclear Magnetic Resonance
MRI | Magnetic Resonance Imaging
MS | Mass Spectrometry
NMR | Nuclear Magnetic Resonance
PTR-MS | Proton Transfer Reaction MS
PTR-TOF-MS | Proton Transfer Reaction Time-Of-Flight MS
QTOF-MS | Quadrupole Time-Of-Flight MS
QTOF-MS/MS | Quadrupole Time-Of-Flight Tandem MS
REI-MS | Rapid Evaporative Ionisation MS
REI-QTOF-MS | Rapid Evaporative Ionisation Quadrupole Time-Of-Flight MS
SESI-MS | Secondary Electrospray Ionization MS
SESI-LTQ-MS | Secondary Electrospray Ionization Linear Trap Quadrupole MS
SESI-QTOF-MS | Secondary Electrospray Ionization Quadrupole Time-Of-Flight MS
SPE-IMS-MS | Solid-Phase Extraction Ion Mobility Spectrometry MS
SPME-GC-Q-MS | Solid-Phase-Micro-Extraction Gas Chromatography Quadrupole MS
SPME-GCxGC-TOF-MS | Solid-Phase-Micro-Extraction Tandem Gas Chromatography Time-Of-Flight MS
TD-GC-TOF-MS | Thermal Desorption-Gas Chromatography Time-Of-Flight MS
TD-GC-Q-MS | Thermal Desorption-Gas Chromatography Quadrupole MS
TM-DART-QTOF-MS | Transmission Mode Direct Analysis In Real Time Quadrupole Time-Of-Flight MS
TM-DART-QTOF-MS/MS | Transmission Mode Direct Analysis In Real Time Quadrupole Time-Of-Flight Tandem MS
TQ-MS | Triple Quarupole MS
UFLC-LTQ-MS | Ultra Fast Liquid Chromatography Linear Trap Quadrupole MS
UFLC-LTQ-MS/MS | Ultra Fast Liquid Chromatography Linear Trap Quadrupole Tandem MS
UFLC-QTOF-MS | Ultra Fast Liquid Chromatography Quadrupole Time-Of-Flight MS
UFLC-QTOF-MS/MS | Ultra Fast Liquid Chromatography Quadrupole Time-Of-Flight Tandem MS
UFLC-TQ-MS | Ultra Fast Liquid Chromatography Triple Quadrupole MS
UFLC-TQ-MS/MS | Ultra Fast Liquid Chromatography Triple Quadrupole Tandem MS
UPLC-DAD | Ultra Performance Liquid Chromatography Diode Array Detection
UPLC-FT-ICR-MS | Ultra Performance Liquid Chromatography Fourier Transform Ion Cyclotron Resonance MS
UPLC-IMS-QTOF-MS | Ultra Performance Liquid Chromatography-Ion Mobility Spectroscopy-Quadrupole Time-Of-Flight MS
UPLC-IT-TOF-MS | Ultra Performance Liquid Chromatography Ion Trap Time-Of-Flight MS
UPLC-IT-TOF-MS/MS | Ultra Performance Liquid Chromatography Ion Trap Time-Of-Flight Tandem MS
UPLC-LTQ-FT-MS | Ultra Performance Liquid Chromatography Linear Trap Quadrupole Fourier Transform MS
UPLC-LTQ-FT-MS/MS | Ultra Performance Liquid Chromatography Linear Trap Quadrupole Fourier Transform Tandem MS
UPLC-LTQ-MS | Ultra Performance Liquid Chromatography Linear Trap Quadrupole MS
UPLC-LTQ-MS/MS | Ultra Performance Liquid Chromatography Linear Trap Quadrupole Tandem MS
UPLC-MS | Ultra Performance Liquid Chromatography MS
UPLC-QTOF-MS | Ultra Performance Liquid Chromatography Quadrupole Time-Of-Flight MS
UPLC-QTOF-MS/MS | Ultra Performance Liquid Chromatography Quadrupole Time-Of-Flight Tandem MS
UPLC-TOF-MS | Ultra Performance Liquid Chromatography Time-Of-Flight MS
UPLC-TQ-MS | Ultra Performance Liquid Chromatography Triple Quarupole MS
UPLC-TQ-MS/MS | Ultra Performance Liquid Chromatography Triple Quarupole Tandem MS

## Assay setups
Standard Assay Setup
Mass spectrometry | Sample Name | Protocol REF | Parameter Value[Post Extraction] | Parameter Value[Derivatization] | Extract Name | Protocol REF | Parameter Value[Chromatography Instrument] | Parameter Value[Column model] | Parameter Value[Column type] | Labeled Extract Name | Label | Protocol REF | Parameter Value[Scan polarity] | Parameter Value[Scan m/z range] | Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer] | MS Assay Name | Raw Spectral Data File | Protocol REF | Normalization Name | Derived Spectral Data File | Protocol REF | Data Transformation Name | Metabolite Assignment File
| Ex1-Col0-48h-Ag-1 | Extraction | 200 µl methanol/water, 30/70 (v/v) | none | Ex1-Col0-48h-Ag-1 | Chromatography | Waters ACQUITY UPLC system | ACQUITY UPLC HSS T3 (1.8 µm, 1.0 mm x 100 mm; Waters) | reverse phase |  |  | Mass spectrometry | positive | 100-1000 | Bruker micrOTOF-Q II | MS:electrospray ionization | quadrupole time-of-flight | Ex1-Col0-48h-Ag-1_1-A,1_01_9818 | MSpos-Ex1-Col0-48h-Ag-1_1-A,1_01_9818.mzData | Data transformation |  |  | Metabolite identification |  | m_mtbl2_metabolite profiling_mass spectrometry_v2_maf.tsv
NMR | Sample Name | Protocol REF | Parameter Value[Extraction Method] | Extract Name | Protocol REF | Parameter Value[NMR tube type] | Parameter Value[Solvent] | Parameter Value[Sample pH] | Parameter Value[Temperature] | Unit | Labeled Extract Name | Label | Protocol REF | Parameter Value[Instrument] | Parameter Value[NMR Probe] | Parameter Value[Number of transients] | Parameter Value[Pulse sequence name] | Parameter Value[Magnetic field strength] | Unit | Acquisition Parameter Data File | Protocol REF | NMR Assay Name | Free Induction Data Decay File | Protocol REF | Normalization Name | Derived Spectral Data File | Protocol REF | Data Transformation Name | Metabolite Assignment File
| ADG10003u_007 | Extraction | N/A | N/A | NMR sample | 5 mm standard | 0.2 M phosphate buffered D2O | 7.4 | 300 | UO:kelvin | N/A | CHEBI:hydrogen molecular entity | NMR spectroscopy | Bruker AVANCE DRX 700 MHz spectrometer | 5 mm TXI ATMA | 128 | 1D NOESY with presaturation (noesypr1d) | 16.4 | UO:tesla | ADG_acquisition_data.xlsx | NMR assay | ADG10003u_007 | ADG10003u_007.zip | Data transformation | ADG_normalized_data.xlsx | ADG10003u_007.nmrML | Metabolite identification | ADG_transformed_data.xlsx | m_mtbls1_metabolite_profiling_NMR_spectroscopy_v2_maf.tsv
DESI | Sample Name | Protocol REF | Parameter Value[Sample mounting] | Parameter Value[Sample preservation] | Parameter Value[Sectioning instrument] | Parameter Value[Section thickness] | Unit | Extract Name | Labeled Extract Name | Protocol REF | Parameter Value[Scan polarity] | Parameter Value[Scan m/z range] | Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer] | Parameter Value[Solvent] | Parameter Value[Spatial resolution] | Unit | Parameter Value[Pixel size x] | Unit | Parameter Value[Pixel size y] | Unit | Parameter Value[Max count of pixel x] | Parameter Value[Max count of pixel y] | Parameter Value[Max dimension x] | Unit | Parameter Value[Max dimension y] | Unit | Parameter Value[Detector] | Parameter Value[Detector mode] | Parameter Value[Native spectrum identifier format] | Parameter Value[Spectrum representation] | Parameter Value[Raw datafile format] | Parameter Value[Instrument software] | Parameter Value[Line scan direction] | Parameter Value[Linescan sequence] | Parameter Value[Scan pattern] | Parameter Value[Scan type] | Parameter Value[Number of scans] | MS Assay Name | Raw Spectral Data File | Raw Spectral Data File | Protocol REF | Parameter Value[Stain] | Parameter Value[High-res image] | Parameter Value[Low-res image] | Protocol REF | Normalization Name | Derived Spectral Data File | Protocol REF | Parameter Value[Data Transformation software] | Data Transformation Name | Data Transformation Name | Metabolite Assignment File
| LNTO22_1_1 | Preparation | Glass slide | Fresh frozen | Thermo Shandon | 15 | UO:micrometer |  |  | Mass spectrometry | negative | 150-1000 | Thermo Scientific Exactive | MS:nanoelectrospray | MS:orbitrap | methanol | 75 | UO:micrometer | 75 | UO:micrometer | 75 | UO:micrometer | 95 | 68 | 7125 | UO:micrometer | 5100 | UO:micrometer | MS:inductive detector | MS:pulse counting | MS:MS:Thermo nativeID format | MS:centroid spectrum | MS:Thermo RAW | Xcalibur 1.1-135101/1.1.2.1351 | IMS:linescan left right | IMS:top down | IMS:flyback | IMS:horizontal line scan | 6460 | LNTO22_1_1 | LNTO22_1_1.ibd |  | Histology | Hematoxylin and Eosin Staining Method and AE1/AE3 antibody |  | LNTO22_1_1.jpg | Data transformation |  | LNTO22_1_1.imzML | Metabolite identification | custom unreleased software 1.1 beta
mzML | Sample Name | Protocol REF | Parameter Value[Post Extraction] | Parameter Value[Derivatization] | Extract Name | Protocol REF | Parameter Value[Chromatography Instrument] | Parameter Value[Column model] | Parameter Value[Column type] | Parameter Value[Guard column] | Labeled Extract Name | Label | Protocol REF | Parameter Value[Scan polarity] | Parameter Value[Scan m/z range] | Unit | Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer] | Parameter Value[Inlet type] | Parameter Value[Detector] | Parameter Value[Detector mode] | Parameter Value[Native spectrum identifier format] | Parameter Value[Data file content] | Parameter Value[Data file content] | Parameter Value[Data file checksum type] | Parameter Value[Raw data file format] | Parameter Value[Instrument manufacturer] | Parameter Value[Instrument serial number] | Parameter Value[Instrument software] | Parameter Value[Number of scans] | Parameter Value[Time range] | Unit | MS Assay Name | Raw Spectral Data File | Protocol REF | Normalization Name | Derived Spectral Data File | Protocol REF | Parameter Value[Data Transformation software] | Parameter Value[Data Transformation software version] | Data Transformation Name | Data Transformation Name | Data Transformation Name | Metabolite Assignment File
| cesa5 1_2-B,3_01_4114 | Extraction | N/A | none |  | Chromatography | Waters ACQUITY UPLC H-Class System | ACQUITY UPLC BEH Phenyl Column 130Å (1.7 µm, 2.1 mm x 100 mm; Waters) | reverse phase | ACQUITY UPLC BEH Phenyl VanGuard Pre-column, 130Å (1.7 µm, 2.1 mm x 5 mm; Waters) |  |  | Mass spectrometry | positive scan | 50-1000 | m/z | impact | electrospray ionization | quadrupole |  | electron multiplier |  | Bruker BAF nativeID format | MS1 spectrum |  | SHA-1 | Bruker BAF file | Bruker Daltonics instrument model |  | Bruker software | 2707 | 0.0083-15.0317 | minute | cesa5 1_2-B,3_01_4114 |  | Data transformation |  | cesa5 1_2-B,3_01_4114.mzML | Metabolite identification | CompassXport | 3.0.9 | MS:peak picking | MS:m/z calibration | MS:Conversion to mzML | m_MTBLS389_Col-0 hydroponic_metabolite_profiling_mass_spectrometry_v2_maf.tsv
Non-Standard Assay Setup
GCxGC | Protocol REF | Chromatography Instrument | Column model 1 | Column type 1 | Guard column | Column model 2 | Column type 2
| Chromatography | Agilent 6890 GC | Rtx-5 (0.20 µm, 0.18 mm x 10 m; Restek) | low polarity | diphenyltetramethyldisilazane deactivated retention gap (0.53 nm x 3 m) | BPX50 (0.1 µm, 0.1 mm x 1.5 m; SGE) | medium polarity
Chromatography Instrument;Column model 1;Column type 1;Guard column;Column model 2;Column type 2
GCxGC | Protocol REF | Chromatography Instrument | Column model 1 | Column type 1 | Column model 2 | Column type 2
| Chromatography | Agilent 6890 GC | Rtx-5MS (0.25 µm, 0.25 mm x 30 m; Restek) | low polarity | BPX50 (0.1 µm, 0.1 mm x 2 m; SGE) | medium polarity
Chromatography Instrument;Column model 1;Column type 1;Column model 2;Column type 2
LC | Protocol REF | Chromatography Instrument | Autosampler model | Column model | Column type | Guard column
| Chromatography | Beckman Coulter System Gold HPLC 127 pump | System Gold HPLC 508 autosampler | Alltima HP C18 (3 μm, 2.1 mm x 150 mm; Alltech) | reverse phase | Alltima HP-Guard C18 (2.1 x 7.5 mm; Alltech)
Chromatography Instrument;Autosampler model;Column model;Column type;Guard column
GC | Protocol REF | Chromatography Instrument | Autosampler model | Column model | Column type
| Chromatography | Agilent 6890N GC | CTC Analytics Combi PAL autosampler | Rtx-5Sil MS (0.25 µm, 0.25 mm x 30 m; Restek) | low polarity
Chromatography Instrument;Autosampler model;Column model;Column type
DAD | Protocol REF | Chromatography Instrument | Column model | Column type | Detector | Signal range | Resolution
| Chromatography | Waters ACQUITY UPLC system | ACQUITY UPLC HSS T3 (1.8 µm, 1.0 mm x 100 mm; Waters) | reverse phase | Waters ACQUITY UPLC PDA Detector | 190-500 nm | 0.25 nm
Chromatography Instrument;Column model;Column type;Detector;Signal range;Resolution
FID | Protocol REF | Chromatography Instrument | Column model | Column type | Detector | Temperature | Unit
| Chromatography | Thermo Electron FOCUS GC | TRACE TR-FAME GC (0.25 μm, 0.25 mm × 30 m, Thermo Scientific) | high polarity | Thermo Electron Flame Ionization Detector | 250 | UO:degree Celsius
Chromatography Instrument;Column model;Column type;Detector;Temperature
DI (TriVersa NanoMate) | Protocol REF | Parameter Value[Chromatography Instrument] | Parameter Value[Column model] | Parameter Value[Column type] | Labeled Extract Name | Label | Protocol REF | Parameter Value[Scan polarity] | Parameter Value[Scan m/z range] | Parameter Value[Instrument] | Parameter Value[Ion source] | Parameter Value[Mass analyzer]
-MS | Chromatography | Advion TriVersa NanoMate |  |  |  |  | Mass spectrometry | positive |  | AB SCIEX QTRAP 5500 | MS:nanoelectrospray | CHMO:linear quadrupole ion trap mass-to-charge analyser
| Chromatography | Samples were introduced using using a Triversa Nanomate (Advion, Ithaca US).
SPE-IMS-MS | Protocol REF | Chromatography Instrument | Column model | Cartridge type
| Chromatography | Agilent RapidFire 365 |  | graphitic carbon
Chromatography Instrument;Cartridge type;Column model
TD-GC | Protocol REF | Chromatography Instrument | Autosampler model | Thermal Desorption unit | Cryogenic Trap | Column model | Column type
| Chromatography | Agilent 6890N GC | Markes International UltrA 2 | Markes International UNITY 2 |  | DB-5ms GC (0.25 µm, 0.25 mm x 30 m; Agilent Technologies) | low polarity
| Chromatography | Agilent 7890 GC | GERSTEL TDS A Autosampler (TDS-A) | GERSTEL TDS | GERSTEL CTS 2 | VF-1ms (1 µm, 0.25 mm x 30 m; Varian) | low polarity
Chromatography Instrument;Autosampler model;Thermal Desorption unit;Cryogenic Trap;Column model;Column type
MAF File
MS | database_identifier | chemical_formula | smiles | inchi | metabolite_identification | mass_to_charge | fragmentation | modifications | charge | retention_time | taxid | species | database | database_version | reliability | uri | search_engine | search_engine_score | smallmolecule_abundance_sub | smallmolecule_abundance_stdev_sub | smallmolecule_abundance_std_error_sub | Sample 1 | Sample 2 | Sample 3 | Sample 4
NMR | database_identifier | chemical_formula | smiles | inchi | metabolite_identification | chemical_shift | multiplicity | taxid | species | database | database_version | reliability | uri | search_engine | search_engine_score | smallmolecule_abundance_sub | smallmolecule_abundance_stdev_sub | smallmolecule_abundance_std_error_sub | Sample 1 | Sample 2 | Sample 3 | Sample 4

## LipidTASTIC
PA | CHEBI:16337 | PC | CHEBI:57643 | PE | CHEBI:16038 | PG | CHEBI:17517 | PS | CHEBI:11750 | PI | CHEBI:16749
PA O- |  | PC O- | CHEBI:68489 | PE O- | CHEBI:68488 | PG O- | CHEBI:132680 | PS O- | CHEBI:68521 | PI O- | CHEBI:68522
PA P- |  | PC P- | CHEBI:17810 | PE P- | CHEBI:60260 | PG P- | CHEBI:132690 | PS P- | CHEBI:137742 | PI P- | CHEBI:136232
|  | PC /P- | CHEBI:136108 | PE /P- | CHEBI:137115
|  |  |  | PE -OH | CHEBI:64612
LPA | CHEBI:132742 | LPC | CHEBI:60479 | LPE | CHEBI:64574 | LPG | CHEBI:90454 | LPS | CHEBI:68510 | LPI | CHEBI:64931
LPA O- |  | LPC O- | CHEBI:64590 | LPE O- | CHEBI:18244 | LPG O- | CHEBI:132756 | LPS O- | CHEBI:146252 | LPI O-
LPA P- |  | LPC P- | CHEBI:17832 | LPE P- | CHEBI:72824 | LPG P- | CHEBI:132757 | LPS P- | CHEBI:146253 | LPI P-
DG | CHEBI:18035
GM3 | CHEBI:15681
CL | CHEBI:28494
N-acylsphingoid | CHEBI:83273
Cer(d38:1)
N-acylsphingosine | CHEBI:52639
Cer(d18:1/24:1) | CHEBI:74457
phytoceramide | CHEBI:139051
Cer(t38:1)
PI-Cer | CHEBI:60245
MIPC | CHEBI:25168
PC(16:0/5:0(CHO)) | CHEBI:77890
SM | CHEBI:64583
TG | CHEBI:17855
PGP | CHEBI:37393
PE-Cer | CHEBI:73204
MGDG | CHEBI:17615
DGDG | CHEBI:28396
SQDG | CHEBI:32167
HexCer | CHEBI:23079
LacCer | CHEBI:17950

## Odds'n'Sods
There is no Chromatography for this study.
There was no identification of metabolites in this study.
The Lipid assays and the Biogenic amine and Acyl-carnitine assays for this study can be found in the MetaboLights studies MTBLS279 and MTBLS280 respectively.
The GC-MS assay for this study can be found in the MetaboLights study MTBLS314.
I'll tweak your study so that it can progress to the next stage. Do you have a list of metabolites we could use to generate a MAF (metabolite assignment) file, potentially with some values that can be linked to your sample data. Normally, these would be in a form of an Excel file which could then be pasted into the MAF file plugin. If not, then this is not a problem, but it would be nice to have this if it's applicable.
hydrogen molecular entity | CHEBI | http://purl.obolibrary.org/obo/CHEBI_33608
taurine | CHEBI | http://purl.obolibrary.org/obo/CHEBI_15891
Samples were introduced using a Triversa Nanomate (Advion, Ithaca US).
Mass spectra were acquired using a chip based nano-electrospray ionization source (TriVersa Nanomate®, Advion, Ithaca, NY, USA) coupled to a hybrid linear ion trap-triple quadrupole mass spectrometer (QTRAP® 5500, ABSCIEX, Foster City, CA, USA).
Rapid evaporative ionisation mass spectrometry conducts analysis directly from sample with no extraction or chromatography required. The analyte containing vapour is transferred directly to the inlet capillary of the mass spectrometer.