## Summary
uid | field | comment | comment2 | comment3
0 | About | PJM 5-bus case for demo purpose
1 | Load | Load factor in EDTSlot and UCTSlot sourced from PJM 5-minutes load on August 30, 2023
2 | StaticGen | Minimum on/off time of generators were made up

## Bus
uid | idx | u | name | Vn | vmax | vmin | v0 | a0 | xcoord | ycoord | area | zone | owner
0 | 0 | 1 | A | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 1 | Zone_A
1 | 1 | 1 | B | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 1 | Zone_B
2 | 2 | 1 | C | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 2 | Zone_C
3 | 3 | 1 | D | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 2 | Zone_D
4 | 4 | 1 | E | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 3 | Zone_E

## VSGR
uid | idx | u | name | dvm | dvd | area
0 | VSGR_1 | 1 | VSGR 1 | 532 | 78 | 1
1 | VSGR_2 | 1 | VSGR 2 | 0 | 0 | 2
2 | VSGR_3 | 1 | VSGR 3 | 0 | 0 | 3

## VSGCost
uid | idx | u | name | reg | cm | cd
0 | VSGCost_1 | 1 | VSGCost 1 | VSG_1 | 1e-05 | 1e-05
1 | VSGCost_2 | 1 | VSGCost 2 | VSG_2 | 2e-05 | 2e-05
2 | VSGCost_3 | 1 | VSGCost 3 | VSG_3 | 3e-05 | 3e-05
3 | VSGCost_4 | 1 | VSGCost 4 | VSG_4 | 4e-05 | 4e-05

## REGCV1
uid | idx | u | name | bus | gen | Sn | M | D | Mmax | Dmax | gammap | gammaq
1 | VSG_1 | 1 | VSG_1 | 2 | PV_3 | 200 | 10 | 0 | 143 | 23 | 0.25 | 0.25
2 | VSG_2 | 1 | VSG_2 | 2 | PV_3 | 200 | 10 | 0 | 143 | 23 | 0.25 | 0.25
3 | VSG_3 | 1 | VSG_3 | 2 | PV_3 | 200 | 10 | 0 | 143 | 23 | 0.25 | 0.25
4 | VSG_4 | 1 | VSG_4 | 2 | PV_3 | 200 | 10 | 0 | 143 | 23 | 0.25 | 0.25

## PQ
uid | idx | u | name | bus | Vn | p0 | q0 | vmax | vmin | owner | ctrl
0 | PQ_1 | 1 | PQ 1 | 1 | 230 | 3 | 0.9861 | 1.1 | 0.9 |  | 1
1 | PQ_2 | 1 | PQ 2 | 2 | 230 | 3 | 0.9861 | 1.1 | 0.9 |  | 1
2 | PQ_3 | 1 | PQ 3 | 3 | 230 | 4 | 1.3147 | 1.1 | 0.9 |  | 1

## PV
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | td1 | td2 | ra | xs
0 | PV_1 | 1 | Alta | 100 | 230 | 0 |  | 1 | 0 | 2.1 | 0.2 | 0.3 | -0.3 | 1 | 1.4 | 0.6 | 0.5 | 0 | 0.01 | 0.3
1 | PV_3 | 1 | Solitude | 100 | 230 | 2 |  | 3.2349 | 0 | 5.2 | 0.5 | 1.275 | -1.275 | 1 | 1.4 | 0.6 | 0.5 | 0 | 0.01 | 0.3
2 | PV_5 | 1 | Brighton | 100 | 230 | 4 |  | 4.6651 | 0 | 6 | 0.6 | 4.5 | -4.5 | 1 | 1.4 | 0.6 | 0.5 | 0 | 0.01 | 0.3
3 | PV_2 | 1 | PV 2 | 100 | 230 | 1 |  | 0.1 | 0 | 99 | -99 | 99 | -99 | 1 | 1.4 | 0.6 | 0.5 | 0 | 0.01 | 0.3

## ESD1
uid | idx | u | name | bus | gen | Sn | En | gammap | gammaq | SOCmin | SOCmax | SOCinit | SOCend | cesdc | cesdd | tdc | tdd | tdc0 | tdd0
0 | ESD1_1 | 1 | ESD1_1 | 1 | PV_2 | 100 | 100 | 1 | 1 | 0.1 | 0.9 | 0.5 | 0.5 | 0.2 | 0.1 | 0 | 0 | 0 | 0

## PVD1
uid | idx | u | name | bus | gen | Sn | gammap | gammaq
0 | PVD1_1 | 1 | PVD1_1 | 0 | PV_1 | 100 | 1 | 1

## Slack
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | td1 | td2 | ra | xs | a0
0 | Slack_4 | 1 | Sundance | 100 | 230 | 3 |  | 0 | 0 | 2 | 0.2 | 1.5 | -1.5 | 1 | 1.4 | 0.6 | 0.5 | 0 | 0.01 | 0.3 | 0

## GCost
uid | idx | u | name | gen | type | csu | csd | c2 | c1 | c0
0 | GCost_1 | 1 | GCost_1 | PV_1 | 2 | 0 | 0 | 0 | 0.145 | 0
1 | GCost_2 | 1 | GCost_2 | PV_3 | 2 | 0 | 0 | 0 | 0.3 | 0
2 | GCost_3 | 1 | GCost_3 | PV_5 | 2 | 0 | 0 | 0 | 0.4 | 0
3 | GCost_4 | 1 | GCost_4 | Slack_4 | 2 | 0 | 0 | 0 | 0.1 | 0
4 | GCost_5 | 1 | GCost_5 | PV_2 | 2 | 0 | 0 | 0 | 0.01 | 0

## Line
uid | idx | u | name | bus1 | bus2 | Sn | fn | Vn1 | Vn2 | r | x | b | rate_a | rate_b | rate_c | g | b1 | g1 | b2 | g2 | trans | tap | phi | owner | xcoord | ycoord
0 | Line_1 | 1 | Line AB | 0 | 1 | 100 | 60 | 230 | 230 | 0.00281 | 0.0281 | 0.00712 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
1 | Line_2 | 1 | Line AD | 0 | 3 | 100 | 60 | 230 | 230 | 0.00304 | 0.0304 | 0.00658 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
2 | Line_3 | 1 | Line AE | 0 | 4 | 100 | 60 | 230 | 230 | 0.00064 | 0.0064 | 0.03126 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
3 | Line_4 | 1 | Line BC | 1 | 2 | 100 | 60 | 230 | 230 | 0.00108 | 0.0108 | 0.01852 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
4 | Line_5 | 1 | Line CD | 2 | 3 | 100 | 60 | 230 | 230 | 0.00297 | 0.0297 | 0.00674 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
5 | Line_6 | 1 | Line DE | 3 | 4 | 100 | 60 | 230 | 230 | 0.00297 | 0.0297 | 0.00674 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
6 | Line_7 | 1 | Line AB2 | 0 | 1 | 100 | 60 | 230 | 230 | 0.00281 | 0.0281 | 0.00712 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0

## Area
uid | idx | u | name
0 | 1 | 1 | 1
1 | 2 | 1 | 2
2 | 3 | 1 | 3

## Zone
uid | idx | u | name
0 | Zone_A | 1 | Zone A
1 | Zone_B | 1 | Zone B
2 | Zone_C | 1 | Zone C
3 | Zone_D | 1 | Zone D
4 | Zone_E | 1 | Zone E

## EDTSlot
uid | idx | name | sd | ug
0 | EDT1 | EDT1 | 0.793, 0.793, 0.793 | 1,1,1,1,1
1 | EDT2 | EDT2 | 0.756, 0.756, 0.756 | 1,1,1,1,1
2 | EDT3 | EDT3 | 0.723, 0.723, 0.723 | 1,1,1,1,1
3 | EDT4 | EDT4 | 0.708, 0.708, 0.708 | 1,1,1,1,1
4 | EDT5 | EDT5 | 0.7, 0.7, 0.7 | 1,1,1,1,1
5 | EDT6 | EDT6 | 0.706, 0.706, 0.706 | 1,1,1,1,1
6 | EDT7 | EDT7 | 0.75, 0.75, 0.75 | 1,1,1,1,1
7 | EDT8 | EDT8 | 0.802, 0.802, 0.802 | 1,1,1,1,1
8 | EDT9 | EDT9 | 0.828, 0.828, 0.828 | 1,1,1,1,1
9 | EDT10 | EDT10 | 0.851, 0.851, 0.851 | 1,1,1,1,1
10 | EDT11 | EDT11 | 0.874, 0.874, 0.874 | 1,1,1,1,1
11 | EDT12 | EDT12 | 0.898, 0.898, 0.898 | 1,1,1,1,1
12 | EDT13 | EDT13 | 0.919, 0.919, 0.919 | 1,1,1,1,1
13 | EDT14 | EDT14 | 0.947, 0.947, 0.947 | 1,1,1,1,1
14 | EDT15 | EDT15 | 0.97, 0.97, 0.97 | 1,1,1,1,1
15 | EDT16 | EDT16 | 0.987, 0.987, 0.987 | 1,1,1,1,1
16 | EDT17 | EDT17 | 1, 1, 1 | 1,1,1,1,1
17 | EDT18 | EDT18 | 1, 1, 1 | 1,1,1,1,1
18 | EDT19 | EDT19 | 0.991, 0.991, 0.991 | 1,1,1,1,1
19 | EDT20 | EDT20 | 0.956, 0.956, 0.956 | 1,1,1,1,1
20 | EDT21 | EDT21 | 0.93, 0.93, 0.93 | 1,1,1,1,1
21 | EDT22 | EDT22 | 0.905, 0.905, 0.905 | 1,1,1,1,1
22 | EDT23 | EDT23 | 0.849, 0.849, 0.849 | 1,1,1,1,1
23 | EDT24 | EDT24 | 0.784, 0.784, 0.784 | 1,1,1,1,1

## UCTSlot
uid | idx | name | sd
0 | UCT1 | UCT1 | 0.793, 0.793, 0.793
1 | UCT2 | UCT2 | 0.756, 0.756, 0.756
2 | UCT3 | UCT3 | 0.723, 0.723, 0.723
3 | UCT4 | UCT4 | 0.708, 0.708, 0.708
4 | UCT5 | UCT5 | 0.7, 0.7, 0.7
5 | UCT6 | UCT6 | 0.706, 0.706, 0.706
6 | UCT7 | UCT7 | 0.75, 0.75, 0.75
7 | UCT8 | UCT8 | 0.802, 0.802, 0.802
8 | UCT9 | UCT9 | 0.828, 0.828, 0.828
9 | UCT10 | UCT10 | 0.851, 0.851, 0.851
10 | UCT11 | UCT11 | 0.874, 0.874, 0.874
11 | UCT12 | UCT12 | 0.898, 0.898, 0.898
12 | UCT13 | UCT13 | 0.919, 0.919, 0.919
13 | UCT14 | UCT14 | 0.947, 0.947, 0.947
14 | UCT15 | UCT15 | 0.97, 0.97, 0.97
15 | UCT16 | UCT16 | 0.987, 0.987, 0.987
16 | UCT17 | UCT17 | 1, 1, 1
17 | UCT18 | UCT18 | 1, 1, 1
18 | UCT19 | UCT19 | 0.991, 0.991, 0.991
19 | UCT20 | UCT20 | 0.956, 0.956, 0.956
20 | UCT21 | UCT21 | 0.93, 0.93, 0.93
21 | UCT22 | UCT22 | 0.905, 0.905, 0.905
22 | UCT23 | UCT23 | 0.849, 0.849, 0.849
23 | UCT24 | UCT24 | 0.784, 0.784, 0.784

## SFR
uid | idx | u | name | du | dd | area
0 | SFR1 | 1 | SFR1 | 0.03 | 0.03 | 1
1 | SFR2 | 1 | SFR2 | 0.03 | 0.03 | 2
2 | SFR3 | 1 | SFR3 | 0.03 | 0.03 | 3

## SFRCost
uid | idx | gen | cru | crd
0 | SFRC_1 | PV_1 | 0 | 0
1 | SFRC_2 | PV_3 | 0 | 0
2 | SFRC_3 | PV_5 | 0 | 0
3 | SFRC_4 | Slack_4 | 0 | 0
4 | SFRC_5 | PV_2 | 0 | 0

## SR
uid | idx | u | name | demand | area
0 | SR1 | 1 | SR1 | 0.03 | 1
1 | SR2 | 1 | SR2 | 0.03 | 2
2 | SR3 | 1 | SR3 | 0.03 | 3

## SRCost
uid | idx | gen | csr
0 | SRC_1 | PV_1 | 0.1
1 | SRC_2 | PV_3 | 0.1
2 | SRC_3 | PV_5 | 0.1
3 | SRC_4 | Slack_4 | 0.1
4 | SRC_5 | PV_2 | 0.1

## NSR
uid | idx | u | name | demand | area
0 | NSR1 | 1 | NSR1 | 0.01 | 1
1 | NSR2 | 1 | NSR2 | 0 | 2
2 | NSR3 | 1 | NSR3 | 0 | 3

## NSRCost
uid | idx | gen | cnsr
0 | NSRC_1 | PV_1 | 0.1
1 | NSRC_2 | PV_3 | 0.1
2 | NSRC_3 | PV_5 | 0.1
3 | NSRC_4 | Slack_4 | 0.1
4 | NSRC_5 | PV_2 | 0.1

## DCost
uid | idx | u | name | pq | cdp
0 | DCost_1 | 1 | Dcost 1 | PQ_1 | 1000
1 | DCost_2 | 1 | Dcost 2 | PQ_2 | 1000
2 | DCost_3 | 1 | Dcost 3 | PQ_3 | 1000