## Slide 1
1
For evaluations with greater than three sensors, grouping individual sensor metrics into boxplots is recommended for displaying results. Note that this recommendation does not apply to metrics computed as a single value for all sensors over the whole evaluation group, such as RMSE, NRMSE, CV, and standard deviation.
Testing Organization and Site Information | 
Testing organization (Name, Organization, Contact website / email / phone number) | 
Testing location (City, State, Latitude and Longitude) | 
AQS site ID | 
Sampling timeframe (MM-DD-YY) | 
Sensor data source | 
Reference data source | 
Range of FRM/FEM concentrations over duration of base test (ppbv) | 
Number of 1-hr periods in FRM/FEM monitor measurements with a goal concentration ≥ 30 ppbv (as applicable) | 
FRM/FEM Information | 
Manufacturer, model, designation | 
Sampling time interval | 
Date of calibration | 
Date of one-point QC check | 
Description, date(s) of maintenance activities | 
Sensor Information |  |  | 
Manufacturer, model |  |  | 
Device firmware version |  |  | 
Sampling time interval |  |  | 
Sensor serial numbers |  |  | 
Issues encountered during deployment? |  | Brief summary of issues | 
Sensor-Reference Accuracy
Sensor-Sensor Precision
Deployment Details
Scatter Plot: Comparison to FRM/FEM
Time Series Plot: 1-hour averaged NO2
Performance Metrics
Meteorological Conditions During Deployment
Meteorological Influence
Number of paired, normalized concentration and temperature values | 
Number of paired, normalized concentration and relative humidity values | 
Number of 1-hr periods outside sensor manufacture-listed temperature operational range (no operational range specified) | 
Number of 1-hr periods outside sensor manufacture-listed relative humidity operational range (no operational range specified) | 

## Slide 2
  Additional documentation may be attached or linked to digital versions alongside this report. Such documentation may include field reports and observations during the testing period, maintenance logs for sensors and FRM/FEM monitors, standard operating procedures, and other documentation relevant to this testing report (see below for examples).
Supplemental Information
Supplemental Documentation | Attached | Description & URL or file path to documentation
Field observations |  | 
Maintenance logs |  | 
Standard operating procedure(s) |  | 
Photos of equipment setup and testing |  | 
Product specifications sheet(s) |  | 
Product manual(s) |  | 
Deployment issues |  | 
Data storage and transmission method |  | 
Data correction approach |  | 
Data analysis/correction scripts and version |  | 
Air Monitoring Station QAPP |  | 
Summary of FRM/FEM monitor QC checks |  | 
Other documents |  |