## Start
Project Name | XXXX |  |  |  | Guidance - How to Create Information Spreadsheet - Required for first time user
Simulation Number: | XXXX |  |  |  | 1. Refer to DC Database and use vlookup table to find the value.
Feeding Arangement: | XXXX |  |  |  | 2. All values pasted in the spreadsheet with VALUE ONLY!.
Modelled by: | XXXX
Date: | 2024-02-01 |  |  |  | Note that no functions allowed for the information table below!
ATTENTION: Number 0 is reserved for N-0 scenario.
[5 empty] | Intact (N-0) Rating | [6 empty] | Outage (N-1) Rating | [6 empty] | Outage List
Substation Name | OSLO ID | Outage Scenario | TRU Rating (MW) | TRU Type | 1min | 4min | 5min | 30min | 60min | 120min | 180min | 1min | 4min | 5min | 30min | 60min | 120min | 180min | Outage Number | Simulation Sub-folder | Simulation Name | Note
Substation A | PRLY | 0 | 2.5 | F | 80 |  | 1 | 35.5547 | 32 | 28.3775 | 26.6667 | 1 | 1 | 35 | 31.1103 | 28 | 24.8303 | 23.3333 | 0 |  |  | N-0
Substation A | COUL | 1 | 2.5 | F | 80 | 41.6762 | 40 | 35.5547 | 32 | 28.3775 | 26.6667 | 70 | 36.4667 | 35 | 31.1103 | 28 | 24.8303 | 23.3333 | 1 | Sim1 | DC000
Substation A | SHEP | 1 | 4 | G | 61.264 | 48 | 45.28 | 1 | 28.4 | 24 | 23.0752 | 40.8427 | 32 | 30.1867 | 1 | 18.9333 | 16 | 15.3835 | 2 | Sim2 | DC000
Substation A | HOLE | 2 | 4 | G | 40.8427 | 32 | 30.1867 | 21.568 | 18.9333 | 16 | 15.3835 | 20.4213 | 16 | 15.0933 | 1 | 9.4667 | 8 | 7.6917
Substation A | REDA | 2 | 3 | G | 30.632 | 24 | 22.64 | 16.176 | 14.2 | 12 | 11.5376 | 15.316 | 12 | 11.32 | 8.088 | 7.1 | 6 | 5.7688